{"text_format":"2","workbook":"xls","n_sheets":3,"sheets":["Calcul","Références","Feuil3"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Calcul","index":0,"n_rows":23,"n_cols":16,"rows_kept":23,"cut":false,"hidden":false,"merged":[[6,1,6,2],[6,3,6,4],[21,11,21,12],[22,7,22,8],[22,9,22,10],[22,11,22,12],[1,0,1,1],[3,8,3,9],[3,10,3,11],[3,12,3,13],[1,8,2,13],[1,2,1,3],[4,8,4,9],[4,10,4,11],[4,12,4,13],[21,7,21,8],[21,9,21,10]],"flags":["formulas_cached_only"]}
[]
["les panneaux ? =>",null,"Suntech 200 poly",null,null,"Orientation ? =>","Paysage",null,"Maximum possible par rapport a la disponibilité"]
[]
[null,"Hauteur","Largeur","Puissance",null,"Hauteur dispo (cm) ? =>",420,null,"Nb en hauteur :",null,"Nb en Largeur :",null,"Puissance :"]
["Dimenssions",148.2,99.2,200,null,"Largeur dispo (cm) ? =>",1050,null,3,null,6,null,3600]
[]
[null,"Portrait",null,"Paysage"]
["Nombre","Hauteur","Largeur","Hauteur","Largeur",null,"Nombre",1,2,3,4,5,6,7,8,9]
[1,158.2,119.2,119.2,158.2,null,1,200,400,600,800,1000,1200," "," "," "]
[2,308.4,221.10000000000002,221.10000000000002,308.4,null,2,400,800,1200,1600,2000,2400," "," "," "]
[3,458.59999999999997,323.00000000000006,323.00000000000006,458.59999999999997,null,3,600,1200,1800,2400,3000," "," "," "," "]
[4,608.8,424.90000000000003,424.90000000000003,608.8,null,4," "," "," "," "," "," "," "," "," "]
[5,759,526.8,526.8,759,null,5," "," "," "," "," "," "," "," "," "]
[6,909.1999999999999,628.7,628.7,909.1999999999999,null,6," "," "," "," "," "," "," "," "," "]
[7,1059.3999999999999,730.6,730.6,1059.3999999999999,null,7," "," "," "," "," "," "," "," "," "]
[8,1209.6,832.5,832.5,1209.6,null,8," "," "," "," "," "," "," "," "," "]
[9,1359.8,934.4,934.4,1359.8,null,9," "," "," "," "," "," "," "," "," "]
[]
[]
[]
[]
[{"$nulls":7},"Largeur",null,"Longueur",null,"Puissance"]
[{"$nulls":11},3000]

{"sheet":"Références","index":1,"n_rows":13,"n_cols":4,"rows_kept":13,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
["Marque","Hauteur","Largeur","Puissance"]
["Suntech 175 mono",158,80.8,175]
["Suntech 180 mono",158,80.8,180]
["Suntech 200 poly",148.2,99.2,200]
["Suntech 210 poly",148.2,99.2,210]
["Suntech 260 poly",195.6,99.2,260]
["Suntech 270 poly",195.6,99.2,270]
["Suntech 280 poly",195.6,99.2,280]
["Sharp 170 mono",157.5,82.6,170]
["Sharp 175 mono",157.5,82.6,175]
["Sharp 180 mono",131.8,99.4,180]
["Sharp 170 poly",131.8,99.4,170]
["Sharp 210 poly",165.2,99.4,210]

{"sheet":"Feuil3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}