{"text_format":"2","workbook":"xls","n_sheets":2,"sheets":["Resultat","equipement stat"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":16,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Resultat","index":0,"n_rows":46,"n_cols":3,"rows_kept":46,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
["Année au 31/12","Nb appareils","Patrimoine"]
[1970,1,0]
[1971,1,0]
[1972,2,0]
[1973,3,863.9286]
[1974,4,1034.3666]
[1975,4,1034.3666]
[1976,4,1034.3666]
[1977,6,5840.9317]
[1978,11,19687.7235]
[1979,19,110040.14]
[1980,27,120093.5124]
[1981,35,148368.0792]
[1982,435,204733.0722]
[1983,452,246390.8332]
[1984,571,350959.736]
[1985,632,615328.2345]
[1986,663,623090.475]
[1987,733,1622762.0282]
[1988,777,1840703.6801]
[1989,821,2115379.764]
[1990,943,2895230.494]
[1991,1043,3632655.5753]
[1992,1193,6911926.7514]
[1993,1326,7973224.2299]
[1994,1451,9531233.702]
[1995,1578,11891261.8973]
[1996,1697,15529352.7485]
[1997,1816,16132035.7006]
[1998,1970,16887439.5777]
[1999,2163,18148803.1735]
[2000,2346,18720367.8136]
[2001,2622,22763541.5047]
[2002,2870,23423554.0004]
[2003,3088,24157358.6852]
[2004,3363,27059751.5116]
[2005,3536,27623126.71]
[2006,3794,29526009.8084]
[2007,3995,32657264.7373]
[2008,4135,33876572.4538]
[2009,4526,35480082.241]
[2010,4710,36827684.6379]
[2011,4682,37025237.2999]
[2012,4753,39566547.7185]
[2013,5139,40158642.1245]
[2014,5152,40441897.5606]

{"sheet":"equipement stat","index":1,"n_rows":46,"n_cols":9,"rows_kept":46,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
["N°","Année","Nb appareils","Patrimoine","Equipement Nouveau","Equipement Renouvelé","Equipement Réformé","Nb Interv","Cout Interv"]
[3138,1970,1,0,1,0,0,0]
[3139,1971,1,0,0,0,0,0]
[3140,1972,2,0,1,0,0,0]
[3141,1973,3,863.9286,1,0,0,0]
[3142,1974,4,1034.3666,1,0,0,0]
[3143,1975,4,1034.3666,0,0,0,0]
[3144,1976,4,1034.3666,0,0,0,0]
[3145,1977,6,5840.9317,2,0,0,0]
[3146,1978,11,19687.7235,5,0,0,0]
[3147,1979,19,110040.14,8,0,0,0]
[3148,1980,27,120093.5124,7,0,0,0]
[3149,1981,35,148368.0792,8,0,0,0]
[3150,1982,435,204733.0722,381,10,0,0]
[3151,1983,452,246390.8332,16,0,0,0]
[3152,1984,571,350959.736,117,2,0,0]
[3153,1985,632,615328.2345,59,1,0,0]
[3154,1986,663,623090.475,29,2,0,0]
[3155,1987,733,1622762.0282,64,5,0,0]
[3156,1988,777,1840703.6801,38,6,0,0]
[3157,1989,821,2115379.764,37,6,0,0]
[3158,1990,943,2895230.494,114,8,0,2,292.2983]
[3159,1991,1043,3632655.5753,68,32,0,1,56.7306]
[3160,1992,1193,6911926.7514,125,25,0,1,78.0167]
[3161,1993,1326,7973224.2299,72,60,0,1,98.7874]
[3162,1994,1451,9531233.702,73,54,2,6,522.1432]
[3163,1995,1578,11891261.8973,101,42,16,352,4225.1768]
[3164,1996,1697,15529352.7485,86,96,66,691,9717.0166]
[3165,1997,1816,16132035.7006,69,148,100,1741,27130.6639]
[3166,1998,1970,16887439.5777,72,197,115,1612,34195.8542]
[3167,1999,2163,18148803.1735,132,178,118,1368,34584.9132]
[3168,2000,2346,18720367.8136,132,169,120,1244,36123.7696]
[3169,2001,2622,22763541.5047,187,160,71,1490,43872.765]
[3170,2002,2870,23423554.0004,223,195,171,1521,160355.52]
[3171,2003,3088,24157358.6852,214,162,158,1435,170113.83]
[3172,2004,3363,27059751.5116,239,186,150,1436,169684.933]
[3173,2005,3536,27623126.71,261,173,261,1690,191169.3944]
[3174,2006,3794,29526009.8084,368,182,298,2285,235455.91]
[3175,2007,3995,32657264.7373,262,255,317,2568,202958.16]
[3176,2008,4135,33876572.4538,188,249,301,2780,227660.26]
[3177,2009,4526,35480082.241,385,323,317,2681,187547.23]
[3178,2010,4710,36827684.6379,140,411,371,2714,252134.61]
[3179,2011,4682,37025237.2999,110,267,429,2548,305624.41]
[3180,2012,4753,39566547.7185,156,213,295,2462,282294.8]
[3181,2013,5139,40158642.1245,539,312,474,2743,238763.67]
[null,2014,5152,40441897.5606,34,48,69,646,9117.58]