{"text_format":"2","workbook":"xls","n_sheets":3,"sheets":["Feuil1","Feuil2","Feuil3"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":1,"defined_names":1,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Feuil1","index":0,"n_rows":24,"n_cols":55,"rows_kept":24,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
[{"$nulls":53},"NB N° maintenance"]
["N° maintenance","N IMMO","Famille","TYPE D'APPAREILS","MARQUE","modèle","BNM?","LOCALISATION","date limitte vérif","Fiche vérification materiel","Fiche de suivi","fiche incident","lieu de vérif","PROPRIETE",{"$nulls":9},"date de vérif","type de vérif","date achat","date panne1","date panne2","date panne3","date panne4","date panne5","date panne6","diff1","diff2","diff3","diff4","diff5","diff6","future vérif",{"$nulls":14},"modèle","Somme"]
[5,null,"fer à souder","Fer à souder","WELLER","WELLER",null,"LPO","2006-08-08","vérif_5",5,"FICHE_INCIDENT_5",{"$nulls":11},"2006-08-08"," annuelle état général","1994-01-01"," "," "," "," "," "," "," "," "," "," "," "," ",{"$nulls":15},"WELLER",22]
[10,null,"fer à souder","Fer à souder","WELLER","WELLER",null,"OB eln","2003-09-01","vérif_10",10,"FICHE_INCIDENT_10",{"$nulls":11},"2003-09-01"," annuelle état général","1994-01-01"," "," "," "," "," "," "," "," "," "," "," "," ",{"$nulls":15},"(vide)"]
[14,null,"fer à souder","Fer à souder","WELLER","WELLER",null,"OB eln","2003-09-01","vérif_14",14,"FICHE_INCIDENT_14",{"$nulls":11},"2003-09-01"," annuelle état général","1994-01-01"," "," "," "," "," "," "," "," "," "," "," "," ",{"$nulls":15},"Total",22]
[19,"IMM04172","fer à souder","Fer à souder","WELLER","WELLER",null,"BFO","2008-03-13","vérif_19",19,"FICHE_INCIDENT_19",{"$nulls":11},"2008-03-13"," annuelle état général","1994-01-01"," "," "," "," "," "," "," "," "," "," "," "," "]
[26,"IMM03695","fer à souder","Fer à souder","WELLER","WELLER",null,"LPO","2006-08-08","vérif_26",26,"FICHE_INCIDENT_26",{"$nulls":11},"2006-08-08"," annuelle état général","1994-01-01"," "," "," "," "," "," "," "," "," "," "," "," "]
["afr09","IMM04174","fer à souder","Fer à souder","WELLER","WELLER",null,"apr","2007-03-29","vérif_afr09","afr09","FICHE_INCIDENT_afr09",{"$nulls":11},"2007-03-29","THERMOMETRE TESTO 720","1997-08-01","1997-09-29","2002-04-20"," "," "," "," ","1900-02-28","1904-07-21"," "," "," "," "]
["AFR02","IMM04249","fer à souder","Fer à souder","WELLER","WELLER",null,"maintenance","2003-10-01","vérif_AFR02","AFR02","FICHE_INCIDENT_AFR02",{"$nulls":11},"2003-10-01","THERMOMETRE HAKKO 191, TESTO 925","1997-10-01"," "," "," "," "," "," "," "," "," "," "," "," "]
["AFR06","IMM04183","fer à souder","Fer à souder","WELLER","WELLER",null,"maintenance","2007-08-01","vérif_AFR06","AFR06","FICHE_INCIDENT_AFR06",{"$nulls":11},"2007-08-01","THERMOMETRE TESTO 925","1997-10-01","2001-10-04","2001-10-23"," "," "," "," ","1904-01-03","1900-01-19"," "," "," "," "]
["AFR07","IMM04149","fer à souder","Fer à souder","WELLER","WELLER",null,"Maintenance","2005-08-01","vérif_AFR07","AFR07","FICHE_INCIDENT_AFR07",{"$nulls":11},"2005-08-01","THERMOMETRE TESTO 925, HAKKO191","1997-10-01"," "," "," "," "," "," "," "," "," "," "," "," "]
["AFR11","IMM02386","fer à souder","Fer à souder","WELLER","WELLER",null,"maintenance","2007-08-01","vérif_AFR11","AFR11","FICHE_INCIDENT_AFR11",{"$nulls":11},"2007-08-01","THERMOMETRE TESTO 925, HAKKO 191","1997-10-01","2001-04-03","2001-06-14","2001-10-04","2002-09-01"," "," ","1903-07-03","1900-03-12","1900-04-21","1900-11-27"," "," "]
["AFR12",null,"fer à souder","Fer à souder","WELLER","WELLER",null,"OB eln","2003-09-01","vérif_AFR12","AFR12","FICHE_INCIDENT_AFR12",{"$nulls":11},"2003-09-01","THERMOMETRE TESTO 925, HAKKO 191","1997-10-01","2001-10-10","2002-04-24","2002-09-01"," "," "," ","1904-01-09","1900-07-14","1900-05-09"," "," "," "]
["AFR13",null,"fer à souder","Fer à souder","WELLER","WELLER",null,"OB eln","2003-09-01","vérif_AFR13","AFR13","FICHE_INCIDENT_AFR13",{"$nulls":11},"2003-09-01","THERMOMETRE TESTO 925, HAKKO 191","1997-10-01"," "," "," "," "," "," "," "," "," "," "," "," "]
["AFR16",null,"fer à souder","Fer à souder","WELLER","WELLER",null,"en réparation","2003-10-01","vérif_AFR16","AFR16","FICHE_INCIDENT_AFR16",{"$nulls":11},"2003-10-01","THERMOMETRE TESTO 925, HAKKO 191","1997-10-01","2000-10-06","2001-10-15"," "," "," "," ","1903-01-05","1901-01-08"," "," "," "," "]
["AFR19","IMM04168","fer à souder","Fer à souder","WELLER","WELLER",null,"MAINTENANCE","2006-08-08","vérif_AFR19","AFR19","FICHE_INCIDENT_AFR19",{"$nulls":11},"2006-08-08","THERMOMETRE TESTO 925, HAKKO 191","1997-10-01","2001-05-14","2002-04-20"," "," "," "," ","1903-08-13","1900-12-06"," "," "," "," "]
["AFR20","IMM03261","fer à souder","Fer à souder","WELLER","WELLER",null,"maintenance","2005-08-01","vérif_AFR20","AFR20","FICHE_INCIDENT_AFR20",{"$nulls":11},"2005-08-01","THERMOMETRE TESTO 925, HAKKO 191","1997-10-01","2001-10-11"," "," "," "," "," ","1904-01-10"," "," "," "," "," "]
["AFR22","IMM04166","fer à souder","Fer à souder","WELLER","WELLER",null,"maintenance","2007-12-15","vérif_AFR22","AFR22","FICHE_INCIDENT_AFR22",{"$nulls":11},"2007-12-15","THERMOMETRE HAKKO 191","1997-10-01","1998-06-18","1998-12-14","2001-03-25"," "," "," ","1900-09-16","1900-06-27","1902-04-11"," "," "," "]
["AFR23",null,"fer à souder","Fer à souder","WELLER","WELLER",null,"UF3","2005-08-01","vérif_AFR23","AFR23","FICHE_INCIDENT_AFR23",{"$nulls":11},"2005-08-01","THERMOMETRE HAKKO 191, TESTO 925","1997-10-01","1999-05-18","2001-06-14"," "," "," "," ","1901-08-16","1902-01-27"," "," "," "," "]
["AFR25","IMM03696","fer à souder","Fer à souder","WELLER","WELLER",null,"maintenance","2007-08-08","vérif_AFR25","AFR25","FICHE_INCIDENT_AFR25",{"$nulls":11},"2007-08-08","THERMOMETRE HAKKO 191","1997-10-01","2001-10-15","2002-09-01"," "," "," "," ","1904-01-14","1900-11-16"," "," "," "," "]
["AFR28","IMM04167","fer à souder","Fer à souder","WELLER","WELLER",null,"RBA","2006-11-11","vérif_AFR28","AFR28","FICHE_INCIDENT_AFR28",{"$nulls":11},"2006-11-11","THERMOMETRE HAKKO 191, TESTO 925","1997-10-01","2002-04-25"," "," "," "," "," ","1904-07-24"," "," "," "," "," "]
["AFR32","IMM00813","fer à souder","Fer à souder","WELLER","WELLER",null,"JRO","2007-10-01","vérif_AFR32","AFR32","FICHE_INCIDENT_AFR32",{"$nulls":11},"2007-10-01","THERMOMETRE HAKKO 191, TESTO 925","1997-10-01","1998-08-19","2000-10-06","2001-04-24","2001-10-04"," "," ","1900-11-17","1902-02-17","1900-07-18","1900-06-11"," "," "]
[59,null,"fer à souder","Fer à souder","WELLER","WELLER",null,"RBA"," ","vérif_59",59,"FICHE_INCIDENT_59",{"$nulls":11}," ",0," "," "," "," "," "," "," "," "," "," "," "," "," "]
["AFR08","IMM02368","fer à souder","Fer à souder","WELLER","WELLER",null,"RBA"," ","vérif_AFR08","AFR08","FICHE_INCIDENT_AFR08",{"$nulls":11}," ",0," "," "," "," "," "," "," "," "," "," "," "," "," "]

{"sheet":"Feuil2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}

{"sheet":"Feuil3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}