{"text_format":"3","workbook":"xlsx","n_sheets":2,"sheets":["DATA Base","Edition étiquettes"],"not_rendered":{"macros":1,"external_links":1,"defined_names":6},"read":"whole","date_system":"1900"}

{"sheet":"DATA Base","index":0,"n_rows":629,"n_cols":12,"rows_kept":629}
[]
["REF","METIER","FAMILLE","PRODUITS","DIMENSIONS","FOURNISSEUR","Prix Unitaire","Format de livraison","MIN","MAX","A COMMANDER","Lien image"]
["CL001","CLIMATISATION","RACCORD A SOUDER","Coude 90°","5/8","ALDES",{"v":1,"d":"1.00 €"},"Unité",10,20,null,"X:\\\\OUTILS COMMUN\\\\LEAN\\\\Images\\\\ACIER NOIR"]
["CL002","CLIMATISATION","RACCORD A SOUDER","Coude 90°","3/4","ALDES",{"v":1,"d":"1.00 €"},"Unité",10,20,null,"Images\\ACIER NOIR\\BOUCHON M.jpg"]
["CL003","CLIMATISATION","RACCORD A SOUDER","Coude 90°","7/8","ALDES",{"v":1,"d":"1.00 €"},"Unité",10,20]
["CL004","CLIMATISATION","RACCORD A SOUDER","Coude 45°","5/8","ALDES",{"v":1,"d":"1.00 €"},"Unité",10,20]
["CL005","CLIMATISATION","RACCORD A SOUDER","Coude 45°","3/4","ALDES",{"v":1,"d":"1.00 €"},"Unité",10,20]
["CL006","CLIMATISATION","RACCORD A SOUDER","Coude 45°","7/8","ALDES",{"v":1,"d":"1.00 €"},"Unité",10,20]
["CL007","CLIMATISATION","RACCORD","Manchon","1/4","ALDES",{"v":1,"d":"1.00 €"},"Unité",10,20]
["CL008","CLIMATISATION","RACCORD","Manchon","1/2","ALDES",{"v":1,"d":"1.00 €"},"Unité",10,20]
["CL009","CLIMATISATION","RACCORD","Manchon","3/8","ALDES",{"v":1,"d":"1.00 €"},"Unité",10,20]
["CL010","CLIMATISATION","RACCORD","Manchon","5/8","ALDES",{"v":1,"d":"1.00 €"},"Unité",10,20]
["CL011","CLIMATISATION","RACCORD","Manchon","3/4","ALDES",{"v":1,"d":"1.00 €"},"Unité",10,20]
["CL012","CLIMATISATION","RACCORD","Manchon","7/8","ALDES",{"v":1,"d":"1.00 €"},"Unité",10,20]
["CL013","CLIMATISATION","RACCORD","Rigide - souple (\"MAGIQUE\")","JAUNE 16mm","ALDES",{"v":1,"d":"1.00 €"},"Unité",5,10]
["CL014","CLIMATISATION","RACCORD","Rigide - souple (\"MAGIQUE\")","ROUGE 18mm","ALDES",{"v":1,"d":"1.00 €"},"Unité",5,10]
["CL015","CLIMATISATION","RACCORD","Rigide - souple (\"MAGIQUE\")","BLEU 20mm","ALDES",{"v":1,"d":"1.00 €"},"Unité",5,10]
["CL016","CLIMATISATION","RACCORD","Rigide - souple (\"MAGIQUE\")","VERT 25mm","ALDES",{"v":1,"d":"1.00 €"},"Unité",5,10]
["CL017","CLIMATISATION","TUYAU","Pour évacuation des condensats - annelé","16x18mm","ALDES",{"v":1,"d":"1.00 €"},"COURONNE 50ml",2,4]
["CL018","CLIMATISATION","TUYAU","Pour évacuation - PVC CRISTAL","6x9mm","ALDES",{"v":1,"d":"1.00 €"},"COURONNE 50ml",2,4]
["CL019","CLIMATISATION","ACCESSOIRES","Chemin de câble Cablofil","largeur 100mm - Longueur de 3m","ALDES",{"v":1,"d":"1.00 €"},"Unité",3,6]
["CL020","CLIMATISATION","ACCESSOIRES","Chemin de câble Cablofil","largeur 200mm - Longueur de 3m","ALDES",{"v":1,"d":"1.00 €"},"Unité",3,6]
["CL021","CLIMATISATION","ACCESSOIRES","Scotch blanc","largeur 50mm","ALDES",{"v":1,"d":"1.00 €"},"ROULEAU 20m",2,4]
["CL022","CLIMATISATION","ACCESSOIRES","Pompe de relevage","MINI VERTE","ALDES",{"v":1,"d":"1.00 €"},"Unité",5,10]
["CL023","CLIMATISATION","ACCESSOIRES","Pompe de relevage","MINI AQUA BLEUE","ALDES",{"v":1,"d":"1.00 €"},"Unité",2,4]
["CL024","CLIMATISATION","ACCESSOIRES","LEAK LOCK jaune",null,"ALDES",{"v":1,"d":"1.00 €"},"Unité",2,10]
["CL025","CLIMATISATION","ACCESSOIRES","LOCK PREP bleu",null,"ALDES",{"v":1,"d":"1.00 €"},"Unité",2,10]
["CL026","CLIMATISATION","ACCESSOIRES","CARLY LOCK - 1000 BULLES FRIGO",null,"ALDES",{"v":1,"d":"1.00 €"},"Unité",3,6]
["CL027","CLIMATISATION","ACCESSOIRES","TAP",null,"ALDES",{"v":1,"d":"1.00 €"},"ROULEAU",10,20]
["CL028","CLIMATISATION","ACCESSOIRES","Collier supportage clim (tubes, câbles et condensats) FIX RING",null,"ALDES",{"v":1,"d":"1.00 €"},"Unité",50,100]
["CL029","CLIMATISATION","COURONNE CUIVRE","Isolée","1/4","ALDES",{"v":1,"d":"1.00 €"},"Unité",1,2]
["CL030","CLIMATISATION","COURONNE CUIVRE","Isolée - couronne 30mm","1/2","ALDES",{"v":1,"d":"1.00 €"},"Unité",1,2]
["CL031","CLIMATISATION","COURONNE CUIVRE","Isolée - couronne 30mm","3/8","ALDES",{"v":1,"d":"1.00 €"},"Unité",1,2]
["CL032","CLIMATISATION","COURONNE CUIVRE","Isolée - couronne 30mm","5/8","ALDES",{"v":1,"d":"1.00 €"},"Unité",1,2]
["CL033","CLIMATISATION","COURONNE CUIVRE","Isolée - couronne 30mm","1/4 - 1/2","ALDES",{"v":1,"d":"1.00 €"},"Unité",1,2]
["CL034","CLIMATISATION","COURONNE CUIVRE","Isolée - couronne 20mm","3/8 - 5/8","ALDES",{"v":1,"d":"1.00 €"},"Unité",1,2]
["CL035","CLIMATISATION","COURONNE CUIVRE","Isolée - couronne 20mm","1/4 - 3/8","ALDES",{"v":1,"d":"1.00 €"},"Unité",1,2]
["CM001","COMMUN","BRASURE","Baguettes brasure simple ","Ø 3mm","ALDES",{"v":1,"d":"1.00 €"},"BOITE 1kg",10,20]
["CM002","COMMUN","BRASURE","Baguettes gaz 6%argent ","Ø 2mm","ALDES",{"v":1,"d":"1.00 €"},"BOITE 1kg",10,20]
["CM003","COMMUN","BRASURE","Décapant agréé gaz","Pot","ALDES",{"v":1,"d":"1.00 €"},"Unité",3,6]
["CM004","COMMUN","FILASSE","Filasse en Pot de 80g",null,"ALDES",{"v":1,"d":"1.00 €"},"POT",5,10]
["CM005","COMMUN","FILASSE","Poupée",null,"ALDES",{"v":1,"d":"1.00 €"},"Unité",5,10]
["CM006","COMMUN","PRODUITS LIQUIDES","GEBATOUT","Pot","ALDES",{"v":1,"d":"1.00 €"},"Unité",3,6]
["CM007","COMMUN","PRODUITS LIQUIDES","Silicone transparent",null,"ALDES",{"v":1,"d":"1.00 €"},"Unité",12,24]
["CM008","COMMUN","PRODUITS LIQUIDES","Dégripant - Reduce 4 800",null,"ALDES",{"v":1,"d":"1.00 €"},"Unité",2,5]
["CM009","COMMUN","PRODUITS LIQUIDES","White Spirit","Bouteille","ALDES",{"v":1,"d":"1.00 €"},"Unité",1,2]
["CM010","COMMUN","PRODUITS LIQUIDES","Huile de coupe - Filduc 859 ","Aérosol","ALDES",{"v":1,"d":"1.00 €"},"Unité",3,6]
["CM011","COMMUN","PRODUITS LIQUIDES","WD 40","Aérosol","ALDES",{"v":1,"d":"1.00 €"},"Unité",3,6]
["CM012","COMMUN","PRODUITS LIQUIDES","Détecteur de fuite type 1000 Bulles","Aérosol","ALDES",{"v":1,"d":"1.00 €"},"Unité",3,6]
["CM013","COMMUN","PRODUITS LIQUIDES","Bombe peinture traçage rouge","Aérosol","ALDES",{"v":1,"d":"1.00 €"},"Unité",2,4]
["CM014","COMMUN","PRODUITS LIQUIDES","Bombe peinture traçage bleue","Aérosol","ALDES",{"v":1,"d":"1.00 €"},"Unité",2,4]
["CM015","COMMUN","PRODUITS LIQUIDES","Bombe mousse polyuréthane",null,"ALDES",{"v":1,"d":"1.00 €"},"Unité",4,10]
["CM016","COMMUN","PRODUITS LIQUIDES","Bombe mousse polyuréthane coupe feu",null,"ALDES",{"v":1,"d":"1.00 €"},"Unité",4,10]
["CM017","COMMUN","PRODUITS LIQUIDES","Scellement chimique",null,"ALDES",{"v":1,"d":"1.00 €"},"Unité",6,12]
["CM018","COMMUN","PRODUITS LIQUIDES","Embouts scellement chimique",null,"ALDES",{"v":1,"d":"1.00 €"},"Unité",20,40]
["CM019","COMMUN","PRODUITS LIQUIDES","Tamis scellement chimique",null,"ALDES",{"v":1,"d":"1.00 €"},"Unité",25,50]
["CM020","COMMUN","PRODUITS LIQUIDES","Pot peinture antirouille grise","Pot de 5L","ALDES",{"v":1,"d":"1.00 €"},"Unité",1,2]
["CM021","COMMUN","PRODUITS LIQUIDES","Colle PVC ","Pot de 1L","ALDES",{"v":1,"d":"1.00 €"},"Unité",12,24]
["CM022","COMMUN","SCOTCH","Scotch orange BARNIER","50mm","ALDES",{"v":1,"d":"1.00 €"},"Unité",10,20]
["CM023","COMMUN","SCOTCH","Scotch rouge ","15mmx10ml","ALDES",{"v":1,"d":"1.00 €"},"Unité",10,20]
["CM024","COMMUN","SCOTCH","Scotch bleu ","15mmx10ml","ALDES",{"v":1,"d":"1.00 €"},"Unité",10,20]
["CM025","COMMUN","ACCESSOIRES","Disque meule ","Ø125","ALDES",{"v":1,"d":"1.00 €"},"Unité",40,80]
["CM026","COMMUN","ACCESSOIRES","Pinceaux ","largeur 40mm","ALDES",{"v":1,"d":"1.00 €"},"Unité",4,8]
["CM027","COMMUN","ACCESSOIRES","Sandow ","Ø10mm * 1ml","ALDES",{"v":1,"d":"1.00 €"},"SACHET 2",5,10]
["CM028","COMMUN","EPI","Gants fins taille 10 (marque Manusweet)",null,"ALDES",{"v":1,"d":"1.00 €"},"Unité",12,24]
["CM029","COMMUN","EPI","Gants fins taille 9 (marque Manusweet)",null,"ALDES",{"v":1,"d":"1.00 €"},"Unité",12,24]
["CM030","COMMUN","EPI","Verre rond pour lunette de soudure n°5",null,"ALDES",{"v":1,"d":"1.00 €"},"Unité",5,10]
["CM031","COMMUN","EPI","Lunettes soudure",null,"ALDES",{"v":1,"d":"1.00 €"},"Unité",1,2]
["CM032","COMMUN","EPI","Masques meulage transparent (Lux Optical Monolux 60590)",null,"ALDES",{"v":1,"d":"1.00 €"},"Unité",3,6]
["CM033","COMMUN","EPI","Demi masque filtrant antipoussière FFP2",null,"ALDES",{"v":1,"d":"1.00 €"},"BOITE 10",1,2]
["CM034","COMMUN","EPI","Bouchons d'oreilles",null,"ALDES",{"v":1,"d":"1.00 €"},"BOITE 250",1,2]
["CM035","COMMUN","DIVERS","Ciment",null,"ALDES",{"v":1,"d":"1.00 €"}]
["CM036","COMMUN","DIVERS","Plâtre",null,"ALDES",{"v":1,"d":"1.00 €"}]
["CM037","COMMUN","DIVERS","Polyane",null,"ALDES",{"v":1,"d":"1.00 €"}]
["CM039","COMMUN","DIVERS","Chiffons","Sac de 10kg","ALDES",{"v":1,"d":"1.00 €"},"Unité",1,2]
["CS001","COMMUN","SUPPORTAGE","Rail","41 X 41","ALDES",{"v":1,"d":"1.00 €"},"ml",60,120]
["CS002","COMMUN","SUPPORTAGE","Rail","41 X 21","ALDES",{"v":1,"d":"1.00 €"},"ml",30,60]
["CS003","COMMUN","SUPPORTAGE","Console","41 X 41  L300mm","ALDES",{"v":1,"d":"1.00 €"},"Unité",5,10]
["CS004","COMMUN","SUPPORTAGE","Console","41 X 41 L600mm","ALDES",{"v":1,"d":"1.00 €"},"Unité",5,10]
["CS005","COMMUN","SUPPORTAGE","Console","41 X 21 L300mm","ALDES",{"v":1,"d":"1.00 €"},"Unité",5,10]
["CS006","COMMUN","SUPPORTAGE","Equerre","4 trous renforcée","ALDES",{"v":1,"d":"1.00 €"},"Unité",5,10]
["CS007","COMMUN","SUPPORTAGE","Equerre","E4 85 X 85 X 135°","ALDES",{"v":1,"d":"1.00 €"},"Unité",5,10]
["CS008","COMMUN","SUPPORTAGE","Equerre","E4 50 X 50 X 90°","ALDES",{"v":1,"d":"1.00 €"},"Unité",5,10]
["CS009","COMMUN","SUPPORTAGE","Bouchon extrémité","41 X 41","ALDES",{"v":1,"d":"1.00 €"},"Unité",50,100]
["CS010","COMMUN","SUPPORTAGE","Bouchon extrémité","41 X 21","ALDES",{"v":1,"d":"1.00 €"},"Unité",50,100]
["CS011","COMMUN","SUPPORTAGE","Ecrou rail","M8 X 40","ALDES",{"v":1,"d":"1.00 €"},"Unité",200,400]
["CS012","COMMUN","SUPPORTAGE","Ecrou rail","M8 X 60","ALDES",{"v":1,"d":"1.00 €"},"Unité",50,100]
["CS013","COMMUN","SUPPORTAGE","Etrier","41 X 41 M10","ALDES",{"v":1,"d":"1.00 €"},"Unité",20,40]
["CS014","COMMUN","SUPPORTAGE","Attache à vis TKN","Caddy pince type TKN 8 de marque ERICO","ALDES",{"v":1,"d":"1.00 €"},"Unité",50,100]
["CS015","COMMUN","SUPPORTAGE","Attache à vis TKN","Caddy pince type TKN 12 de marque ERICO","ALDES",{"v":1,"d":"1.00 €"},"Unité",40,80]
["CS016","COMMUN","SUPPORTAGE ","Tige fillettée","M8","ALDES",{"v":1,"d":"1.00 €"},"ml",100,200]
["CS017","COMMUN","SUPPORTAGE ","Tige fillettée","M10","ALDES",{"v":1,"d":"1.00 €"},"ml",60,120]
["CS018","COMMUN","SUPPORTAGE ","Ecrou","M8","ALDES",{"v":1,"d":"1.00 €"},"Boîte 200",5,10]
["CS019","COMMUN","SUPPORTAGE ","Ecrou","M10","ALDES",{"v":1,"d":"1.00 €"},"Boîte 100",10,20]
["CS020","COMMUN","SUPPORTAGE ","Rondelle","M8 L","ALDES",{"v":1,"d":"1.00 €"},"Boîte 200",5,10]
["CS021","COMMUN","SUPPORTAGE ","Rondelle","M8 LL","ALDES",{"v":1,"d":"1.00 €"},"Boîte 200",6,12]
["CS022","COMMUN","SUPPORTAGE ","Rondelle","M10 L","ALDES",{"v":1,"d":"1.00 €"},"Boîte 200",6,12]
["CS023","COMMUN","SUPPORTAGE ","Rondelle","M10 LL","ALDES",{"v":1,"d":"1.00 €"},"Boîte 200",4,8]
["CS024","COMMUN","SUPPORTAGE ","Manchon fileté FF","M8","ALDES",{"v":1,"d":"1.00 €"},"Boîte 250",2,5]
["CS025","COMMUN","SUPPORTAGE ","Manchon fileté FF","M10","ALDES",{"v":1,"d":"1.00 €"},"Boîte 50",10,20]
["CS026","COMMUN","SUPPORTAGE ","Bande perforée A6 (feuillard)",null,"ALDES",{"v":1,"d":"1.00 €"},"Bande 25m",2,4]
["CS027","COMMUN","SUPPORTAGE ","Plots antivibratiles","Ø 8mm","ALDES",{"v":1,"d":"1.00 €"},"Unité",20,40]
["CS028","COMMUN","SUPPORTAGE ","Bobine cablette Fastlok MD2 ou gripple","Rouleau 150 ml","ALDES",{"v":1,"d":"1.00 €"},"Unité",2,4]
["CS029","COMMUN","SUPPORTAGE ","Galet Fast lok COKL 100 D2 ou gripple",null,"ALDES",{"v":1,"d":"1.00 €"},"Boîte 100",1,2]
["CS030","COMMUN","SUPPORTAGE ","Embase 4 points",null,"ALDES",{"v":1,"d":"1.00 €"},"Unité",5,10]
["CV001","COMMUN","VISSERIE","Vis PLACO","25mm","ALDES",{"v":1,"d":"1.00 €"},"Boîte 100",10,20]
["CV002","COMMUN","VISSERIE","Vis PLACO","45mm","ALDES",{"v":1,"d":"1.00 €"},"Boîte 100",10,20]
["CV003","COMMUN","VISSERIE","Vis à Bois - tête fraisée","4x40mm","ALDES",{"v":1,"d":"1.00 €"},"Boîte 100",5,10]
["CV004","COMMUN","VISSERIE","Vis à Bois - tête fraisée","4x50mm","ALDES",{"v":1,"d":"1.00 €"},"Boîte 100",5,10]
["CV005","COMMUN","VISSERIE","Vis à Bois - tête fraisée","5x40mm","ALDES",{"v":1,"d":"1.00 €"},"Boîte 100",5,10]
["CV006","COMMUN","VISSERIE","Vis à Bois - tête fraisée","5x50mm","ALDES",{"v":1,"d":"1.00 €"},"Boîte 100",5,10]
["CV007","COMMUN","VISSERIE","Vis à Bois - tête fraisée","5x60mm","ALDES",{"v":1,"d":"1.00 €"},"Boîte 100",10,20]
["CV008","COMMUN","VISSERIE","Tirefond","Ø8  L50 mm","ALDES",{"v":1,"d":"1.00 €"},"Boîte 100",2,4]
["CV009","COMMUN","VISSERIE","Tirefond","Ø8 L60 mm","ALDES",{"v":1,"d":"1.00 €"},"Boîte 100",2,4]
["CV010","COMMUN","VISSERIE","Goujon à expansion Tifix","Ø8 L65 mm","ALDES",{"v":1,"d":"1.00 €"},"Boîte 100",1,2]
["CV011","COMMUN","VISSERIE","Goujon à expansion Tifix","Ø8 L115 mm","ALDES",{"v":1,"d":"1.00 €"},"Boîte 100",1,2]
["CV012","COMMUN","VISSERIE","Goujon à expansion Tifix","Ø10 L80mm","ALDES",{"v":1,"d":"1.00 €"},"Boîte 50",1,2]
["CV013","COMMUN","VISSERIE","Cheville Femelle à frapper","Ø8","ALDES",{"v":1,"d":"1.00 €"},"Boîte 100",2,4]
["CV014","COMMUN","VISSERIE","Cheville Femelle à frapper","Ø10","ALDES",{"v":1,"d":"1.00 €"},"Boîte 100",1,2]
["CV015","COMMUN","VISSERIE","Vis double filetage","8 X 50","ALDES",{"v":1,"d":"1.00 €"},"Unité",200,400]
["CV016","COMMUN","VISSERIE","Vis double filetage","8 X 80","ALDES",{"v":1,"d":"1.00 €"},"Unité",200,400]
["CV017","COMMUN","VISSERIE","Vis Béton HILTI HUS3-I","6x35 M8/M10 ","ALDES",{"v":1,"d":"1.00 €"},"Boîte 100",100,200]
["E001","ELECTRICITE","CABLE","Blanc souple","3 G 1,5","ALDES",{"v":1,"d":"1.00 €"},"ml",50,100]
["E002","ELECTRICITE","CABLE","RO2V","3 G 1,5","ALDES",{"v":1,"d":"1.00 €"},"ml",100,200]
["E003","ELECTRICITE","CABLE","RO2V","4 G 1,5","ALDES",{"v":1,"d":"1.00 €"},"ml",100,200]
["E004","ELECTRICITE","CABLE","Blindé","2X0,75","ALDES",{"v":1,"d":"1.00 €"},"ml",100,200]
["E005","ELECTRICITE","ACCESSOIRES","Fiche","MALE","ALDES",{"v":1,"d":"1.00 €"},"Unité",10,20]
["E006","ELECTRICITE","ACCESSOIRES","Fiche","FEMELLE","ALDES",{"v":1,"d":"1.00 €"},"Unité",10,20]
["E007","ELECTRICITE","ACCESSOIRES","WAGO à levier","x 2","ALDES",{"v":1,"d":"1.00 €"},"BOITE 100",1,2]
["E008","ELECTRICITE","ACCESSOIRES","WAGO à levier","x 3","ALDES",{"v":1,"d":"1.00 €"},"BOITE 50",1,2]
["E009","ELECTRICITE","ACCESSOIRES","WAGO à levier","x 5","ALDES",{"v":1,"d":"1.00 €"},"BOITE 25",1,2]
["E010","ELECTRICITE","ACCESSOIRES","WAGO fixe","x 2","ALDES",{"v":1,"d":"1.00 €"},"BOITE 100",1,2]
["E011","ELECTRICITE","ACCESSOIRES","WAGO fixe","x 3","ALDES",{"v":1,"d":"1.00 €"},"BOITE 100",1,2]
["E012","ELECTRICITE","ACCESSOIRES","WAGO fixe","x 5","ALDES",{"v":1,"d":"1.00 €"},"BOITE 100",1,2]
["E013","ELECTRICITE","ACCESSOIRES","WAGO fixe","Boîte x 8","ALDES",{"v":1,"d":"1.00 €"},"Unité",1,2]
["E014","ELECTRICITE","ACCESSOIRES","Embase pour colson","FRAPPER","ALDES",{"v":1,"d":"1.00 €"},"SACHET 100",50,100]
["E015","ELECTRICITE","ACCESSOIRES","Embase pour colson","VISSER","ALDES",{"v":1,"d":"1.00 €"},"SACHET 100",50,100]
["E016","ELECTRICITE","ACCESSOIRES","Boîte de dérivation","PETITE RONDE","ALDES",{"v":1,"d":"1.00 €"},"Unité",5,10]
["E017","ELECTRICITE","ACCESSOIRES","Boîte de dérivation","MOYENNE CARREE","ALDES",{"v":1,"d":"1.00 €"},"Unité",5,10]
["E018","ELECTRICITE","ACCESSOIRES","ScotchLlok","9/10","ALDES",{"v":1,"d":"1.00 €"},"Unité",1,2]
["E019","ELECTRICITE","ACCESSOIRES","Scotch blanc","15mm","ALDES",{"v":1,"d":"1.00 €"},"ROULEAU",5,10]
["E020","ELECTRICITE","ACCESSOIRES","COLSON blanc","L4,8 x 300mm","ALDES",{"v":1,"d":"1.00 €"},"SACHET 100",5,10]
["E021","ELECTRICITE","ACCESSOIRES","COLSON noir","L4,8 x 300mm","ALDES",{"v":1,"d":"1.00 €"},"SACHET 100",5,10]
["E022","ELECTRICITE","ACCESSOIRES","RILSAN démontable","L9 x 290mm","ALDES",{"v":1,"d":"1.00 €"},"SACHET 100",6,12]
["H001","CHAUFFAGE","ACIER NOIR","Coude à souder",0.75,"ALDES",{"v":1,"d":"1.00 €"},"Unité",5,10]
["H002","CHAUFFAGE","ACIER NOIR","Coude à souder","1\"","ALDES",{"v":1,"d":"1.00 €"},"Unité",5,10]
["H003","CHAUFFAGE","ACIER NOIR","Coude à souder","1\"1/4","ALDES",{"v":1,"d":"1.00 €"},"Unité",5,10]
["H004","CHAUFFAGE","ACIER NOIR","Coude à souder","1\"1/2","ALDES",{"v":1,"d":"1.00 €"},"Unité",5,10]
["H005","CHAUFFAGE","ACIER NOIR","Coude à souder","2\"","ALDES",{"v":1,"d":"1.00 €"},"Unité",5,10]
["H006","CHAUFFAGE","ACIER NOIR","Coude à souder","2\"1/2","ALDES",{"v":1,"d":"1.00 €"},"Unité",5,10]
["H007","CHAUFFAGE","ACIER NOIR","Manchon à souder",0.375,"ALDES",{"v":1,"d":"1.00 €"},"Unité",5,10]
["H008","CHAUFFAGE","ACIER NOIR","Manchon à souder",0.5,"ALDES",{"v":1,"d":"1.00 €"},"Unité",5,10]
["H009","CHAUFFAGE","ACIER NOIR","Manchon à souder",0.75,"ALDES",{"v":1,"d":"1.00 €"},"Unité",5,10]
["H010","CHAUFFAGE","ACIER NOIR","Manchon à souder","1\"","ALDES",{"v":1,"d":"1.00 €"},"Unité",5,10]
["H011","CHAUFFAGE","ACIER NOIR","Bobine 20 cm",0.375,"ALDES",{"v":1,"d":"1.00 €"},"Unité",5,10]
["H012","CHAUFFAGE","ACIER NOIR","Bobine 20 cm",0.5,"ALDES",{"v":1,"d":"1.00 €"},"Unité",5,10]
["H013","CHAUFFAGE","ACIER NOIR","Bobine 20 cm",0.75,"ALDES",{"v":1,"d":"1.00 €"},"Unité",5,10]
["H014","CHAUFFAGE","ACIER NOIR","Bobine 20 cm","1\"","ALDES",{"v":1,"d":"1.00 €"},"Unité",5,10]
["H015","CHAUFFAGE","ACIER NOIR","Bobine 20 cm","1\"1/4","ALDES",{"v":1,"d":"1.00 €"},"Unité",5,10]
["H016","CHAUFFAGE","ACIER NOIR","Bobine 20 cm","1\"1/2","ALDES",{"v":1,"d":"1.00 €"},"Unité",5,10]
["H017","CHAUFFAGE","ACIER NOIR","Bobine 20 cm","2\"","ALDES",{"v":1,"d":"1.00 €"},"Unité",5,10]
["H018","CHAUFFAGE","ACIER NOIR ","Coude à visser MF",0.375,"ALDES",{"v":1,"d":"1.00 €"},"Unité",5,10]
["H019","CHAUFFAGE","ACIER NOIR ","Coude à visser MF acier noir",0.5,"ALDES",{"v":1,"d":"1.00 €"},"Unité",10,20]
["H020","CHAUFFAGE","ACIER NOIR ","Bouchon M",0.375,"ALDES",{"v":1,"d":"1.00 €"},"Unité",2,4]
["H021","CHAUFFAGE","ACIER NOIR ","Bouchon M",0.5,"ALDES",{"v":1,"d":"1.00 €"},"Unité",2,4]
["H022","CHAUFFAGE","ACIER NOIR ","Bouchon M",0.75,"ALDES",{"v":1,"d":"1.00 €"},"Unité",2,4]
["H023","CHAUFFAGE","ACIER NOIR ","Bouchon M","1\"","ALDES",{"v":1,"d":"1.00 €"},"Unité",2,4]
["H024","CHAUFFAGE","ACIER NOIR ","Bouchon F",0.375,"ALDES",{"v":1,"d":"1.00 €"},"Unité",2,4]
["H025","CHAUFFAGE","ACIER NOIR ","Bouchon F",0.5,"ALDES",{"v":1,"d":"1.00 €"},"Unité",2,4]
["H026","CHAUFFAGE","ACIER NOIR ","Bouchon F",0.75,"ALDES",{"v":1,"d":"1.00 €"},"Unité",2,4]
["H027","CHAUFFAGE","ACIER NOIR ","Bouchon F","1\"","ALDES",{"v":1,"d":"1.00 €"},"Unité",2,4]
["H028","CHAUFFAGE","ACIER NOIR ","Union MF",0.375,"ALDES",{"v":1,"d":"1.00 €"},"Unité",2,4]
["H029","CHAUFFAGE","ACIER NOIR ","Union MF",0.5,"ALDES",{"v":1,"d":"1.00 €"},"Unité",2,4]
["H030","CHAUFFAGE","ACIER NOIR ","Union MF",0.75,"ALDES",{"v":1,"d":"1.00 €"},"Unité",2,4]
["H031","CHAUFFAGE","ACIER NOIR ","Union MF","1\"","ALDES",{"v":1,"d":"1.00 €"},"Unité",2,4]
["H032","CHAUFFAGE","ACIER NOIR ","Union MF","1\"1/4","ALDES",{"v":1,"d":"1.00 €"},"Unité",2,4]
["H033","CHAUFFAGE","ACIER NOIR ","Union MF","1\"1/2","ALDES",{"v":1,"d":"1.00 €"},"Unité",2,4]
["H034","CHAUFFAGE","ACIER NOIR ","Union MF","2\"","ALDES",{"v":1,"d":"1.00 €"},"Unité",2,4]
["H035","CHAUFFAGE","COLLIER","Collier série lourde",0.375,"ALDES",{"v":1,"d":"1.00 €"},"Unité",10,20]
["H036","CHAUFFAGE","COLLIER","Collier série lourde",0.5,"ALDES",{"v":1,"d":"1.00 €"},"Unité",10,20]
["H037","CHAUFFAGE","COLLIER","Collier série lourde",0.75,"ALDES",{"v":1,"d":"1.00 €"},"Unité",10,20]
["H038","CHAUFFAGE","COLLIER","Collier série lourde","1\"","ALDES",{"v":1,"d":"1.00 €"},"Unité",10,20]
["H039","CHAUFFAGE","COLLIER","Collier série lourde","1\"1/4","ALDES",{"v":1,"d":"1.00 €"},"Unité",10,20]
["H040","CHAUFFAGE","COLLIER","Collier série lourde","1\"1/2","ALDES",{"v":1,"d":"1.00 €"},"Unité",10,20]
["H041","CHAUFFAGE","COLLIER","Collier série lourde","2\"","ALDES",{"v":1,"d":"1.00 €"},"Unité",10,20]
["H042","CHAUFFAGE","COLLIER","Collier série lourde","2\"1/2","ALDES",{"v":1,"d":"1.00 €"},"Unité",10,20]
["HR001","CHAUFFAGE","ROBINETTERIE RADIATEURS","Robinet thermostatique","10 équerre","ALDES",{"v":1,"d":"1.00 €"},"Unité",10,20]
["HR002","CHAUFFAGE","ROBINETTERIE RADIATEURS","Robinet thermostatique","10 droit","ALDES",{"v":1,"d":"1.00 €"},"Unité",10,20]
["HR003","CHAUFFAGE","ROBINETTERIE RADIATEURS","Robinet thermostatique","10 équerre inversé","ALDES",{"v":1,"d":"1.00 €"},"Unité",10,20]
["HR004","CHAUFFAGE","ROBINETTERIE RADIATEURS","Robinet thermostatique","15 équerre","ALDES",{"v":1,"d":"1.00 €"},"Unité",50,100]
["HR005","CHAUFFAGE","ROBINETTERIE RADIATEURS","Robinet thermostatique","15 droit","ALDES",{"v":1,"d":"1.00 €"},"Unité",50,100]
["HR006","CHAUFFAGE","ROBINETTERIE RADIATEURS","Robinet thermostatique","15 équerre inversé","ALDES",{"v":1,"d":"1.00 €"},"Unité",25,50]
["HR007","CHAUFFAGE","ROBINETTERIE RADIATEURS","Robinet thermostatique","15 double équerre inversé","ALDES",{"v":1,"d":"1.00 €"},"Unité",10,20]
["HR008","CHAUFFAGE","ROBINETTERIE RADIATEURS","Robinet thermostatique","20 équerre","ALDES",{"v":1,"d":"1.00 €"},"Unité",10,20]
["HR009","CHAUFFAGE","ROBINETTERIE RADIATEURS","Robinet thermostatique","20 droit","ALDES",{"v":1,"d":"1.00 €"},"Unité",10,20]
["HR010","CHAUFFAGE","ROBINETTERIE RADIATEURS","Robinet manuel ","10 équerre","ALDES",{"v":1,"d":"1.00 €"},"Unité",10,20]
["HR011","CHAUFFAGE","ROBINETTERIE RADIATEURS","Robinet manuel ","10 droit","ALDES",{"v":1,"d":"1.00 €"},"Unité",10,20]
["HR012","CHAUFFAGE","ROBINETTERIE RADIATEURS","Robinet manuel ","15 équerre","ALDES",{"v":1,"d":"1.00 €"},"Unité",10,50]
["HR013","CHAUFFAGE","ROBINETTERIE RADIATEURS","Robinet manuel ","15 droit","ALDES",{"v":1,"d":"1.00 €"},"Unité",25,50]
["HR014","CHAUFFAGE","ROBINETTERIE RADIATEURS","Robinet manuel ","20 équerre","ALDES",{"v":1,"d":"1.00 €"},"Unité",10,20]
["HR015","CHAUFFAGE","ROBINETTERIE RADIATEURS","Robinet manuel ","20 droit","ALDES",{"v":1,"d":"1.00 €"},"Unité",10,20]
["HR016","CHAUFFAGE","ROBINETTERIE RADIATEURS","Té ","équerre 10","ALDES",{"v":1,"d":"1.00 €"},"Unité",10,20]
["HR017","CHAUFFAGE","ROBINETTERIE RADIATEURS","Té ","droit 10","ALDES",{"v":1,"d":"1.00 €"},"Unité",10,20]
["HR018","CHAUFFAGE","ROBINETTERIE RADIATEURS","Té ","équerre 15","ALDES",{"v":1,"d":"1.00 €"},"Unité",50,100]
["HR019","CHAUFFAGE","ROBINETTERIE RADIATEURS","Té ","droit 15","ALDES",{"v":1,"d":"1.00 €"},"Unité",50,100]
["HR020","CHAUFFAGE","ROBINETTERIE RADIATEURS","Té ","équerre 20","ALDES",{"v":1,"d":"1.00 €"},"Unité",10,20]
["HR021","CHAUFFAGE","ROBINETTERIE RADIATEURS","Té ","droit 20","ALDES",{"v":1,"d":"1.00 €"},"Unité",10,20]
["HR022","CHAUFFAGE","ROBINETTERIE RADIATEURS","Tête thermostatique ","k TRV 340","ALDES",{"v":1,"d":"1.00 €"},"Unité",100,200]
["HR023","CHAUFFAGE","ROBINETTERIE RADIATEURS","Tête thermostatique ","k-ANTIVOL TRV 341","ALDES",{"v":1,"d":"1.00 €"},"Unité",10,20]
["HR024","CHAUFFAGE","ROBINETTERIE RADIATEURS","Tête manuelle",null,"ALDES",{"v":1,"d":"1.00 €"},"Unité",10,20]
["HR025","CHAUFFAGE","ROBINETTERIE RADIATEURS","Purgeur AUTO A FLOTTEUR",0.375,"ALDES",{"v":1,"d":"1.00 €"},"Unité",10,20]
["HR026","CHAUFFAGE","ROBINETTERIE RADIATEURS","Purgeur AUTO A FLOTTEUR",0.5,"ALDES",{"v":1,"d":"1.00 €"},"Unité",5,10]
["MC001","SANITAIRE","MULTICOUCHE","Droit Mâle","16 x 3/8\"","ALDES",{"v":1,"d":"1.00 €"},"Sachet 10",30,60]
["MC002","SANITAIRE","MULTICOUCHE","Droit Mâle ","16 x 1/2\" ","ALDES",{"v":1,"d":"1.00 €"},"Sachet 10",30,60]
["MC003","SANITAIRE","MULTICOUCHE","Droit Femelle ","16 x 1/2\"","ALDES",{"v":1,"d":"1.00 €"},"Sachet 10",30,60]
["MC004","SANITAIRE","MULTICOUCHE","Droit Femelle portée plate et écrou libre tournant ","16 x 3/8\"","ALDES",{"v":1,"d":"1.00 €"},"Unité",30,60]
["MC005","SANITAIRE","MULTICOUCHE","Droit Femelle portée plate et écrou libre tournant ","16 x 1/2\"","ALDES",{"v":1,"d":"1.00 €"},"Unité",30,60]
["MC006","SANITAIRE","MULTICOUCHE","Droit Femelle portée plate et écrou libre tournant ","16 x 3/4\"","ALDES",{"v":1,"d":"1.00 €"},"Unité",30,60]
["MC007","SANITAIRE","MULTICOUCHE","Droit intermédiaire ","16 x 16 ","ALDES",{"v":1,"d":"1.00 €"},"Sachet 10",30,60]
["MC008","SANITAIRE","MULTICOUCHE","Droit intermédiaire réduit"," 20 x 16 ","ALDES",{"v":1,"d":"1.00 €"},"Sachet 10",30,60]
["MC009","SANITAIRE","MULTICOUCHE","T intermédiaire"," 16 x 16 x 16","ALDES",{"v":1,"d":"1.00 €"},"Sachet 5",30,60]
["MC010","SANITAIRE","MULTICOUCHE","Coude intermédiaire ","16 x 16","ALDES",{"v":1,"d":"1.00 €"},"Sachet 10",30,60]
["MC011","SANITAIRE","MULTICOUCHE","Coude Femelle portée plate et écrou libre"," 16 x 1/2\"","ALDES",{"v":1,"d":"1.00 €"},"Unité",20,40]
["MC012","SANITAIRE","MULTICOUCHE","Coude Femelle avec bride ","16 x 1/2\"","ALDES",{"v":1,"d":"1.00 €"},"Sachet 5",30,60]
["MC013","SANITAIRE","MULTICOUCHE","Droit Mâle"," 20 x 3/4\" ","ALDES",{"v":1,"d":"1.00 €"},"Sachet 10",30,60]
["MC014","SANITAIRE","MULTICOUCHE","Droit Femelle"," 20 x 1/2\" ","ALDES",{"v":1,"d":"1.00 €"},"Sachet 10",30,60]
["MC015","SANITAIRE","MULTICOUCHE","Droit Femelle ","20 x 3/4\" ","ALDES",{"v":1,"d":"1.00 €"},"Sachet 10",30,60]
["MC016","SANITAIRE","MULTICOUCHE","Droit Femelle portée plate et écrou libre tournant ","20 x 3/4\"","ALDES",{"v":1,"d":"1.00 €"},"Unité",30,60]
["MC017","SANITAIRE","MULTICOUCHE","Droit intermédiaire"," 20 x 20 ","ALDES",{"v":1,"d":"1.00 €"},"Sachet 10",30,60]
["MC018","SANITAIRE","MULTICOUCHE","T intermédiaire"," 20 x 20 x 20","ALDES",{"v":1,"d":"1.00 €"},"Sachet 5",30,60]
["MC019","SANITAIRE","MULTICOUCHE","Coude intermédiaire"," 20 x 20","ALDES",{"v":1,"d":"1.00 €"},"Sachet 10",30,60]
["MC020","SANITAIRE","MULTICOUCHE","T intermédiaire réduit ","20 x 16 x 20 ","ALDES",{"v":1,"d":"1.00 €"},"Sachet 5",20,40]
["MC021","SANITAIRE","MULTICOUCHE","Coude Femelle portée plate et écrou libre"," 20 x 3/4\"","ALDES",{"v":1,"d":"1.00 €"},"Unité",10,20]
["MC022","SANITAIRE","MULTICOUCHE","Droit intermédiaire réduit ","26 x 20 ","ALDES",{"v":1,"d":"1.00 €"},"Sachet 5",20,40]
["MC023","SANITAIRE","MULTICOUCHE","Support zingué a encastrer pour coudes avec bride",null,"ALDES",{"v":1,"d":"1.00 €"},"Sachet 2",20,40]
["MC024","SANITAIRE","MULTICOUCHE","Support galvanisé pour coudes avec bride",null,"ALDES",{"v":1,"d":"1.00 €"},"Unité",20,40]
["MC025","SANITAIRE","MULTICOUCHE","Bouchon avec o-ring ","1/2\" bleu","ALDES",{"v":1,"d":"1.00 €"},"Sachet 50",50,100]
["MC026","SANITAIRE","MULTICOUCHE","Bouchon avec o-ring ","1/2\" rouge","ALDES",{"v":1,"d":"1.00 €"},"Sachet 50",50,100]
["MC027","SANITAIRE","MULTICOUCHE","Droit Mâle ","26 x 3/4\" ","ALDES",{"v":1,"d":"1.00 €"},"Sachet 5",30,60]
["MC028","SANITAIRE","MULTICOUCHE","Droit Mâle"," 26 x 1\"","ALDES",{"v":1,"d":"1.00 €"},"Sachet 5",15,30]
["MC029","SANITAIRE","MULTICOUCHE","Droit Femelle portée plate et écrou libre tournant"," 26 x 3/4\"","ALDES",{"v":1,"d":"1.00 €"},"Unité",15,30]
["MC030","SANITAIRE","MULTICOUCHE","Droit Femelle portée plate et écrou libre tournant ","26 x 1\"","ALDES",{"v":1,"d":"1.00 €"},"Unité",15,30]
["MC031","SANITAIRE","MULTICOUCHE","Droit intermédiaire ","26 x 26 ","ALDES",{"v":1,"d":"1.00 €"},"Sachet 5",15,30]
["MC032","SANITAIRE","MULTICOUCHE","T intermédiaire","26 x 26 x 26","ALDES",{"v":1,"d":"1.00 €"},"Sachet 5",15,30]
["MC033","SANITAIRE","MULTICOUCHE","Coude intermédiaire ","26 x 26","ALDES",{"v":1,"d":"1.00 €"},"Sachet 5",15,30]
["MC034","SANITAIRE","MULTICOUCHE","T intermédiaire réduit "," 26 x 20 x 26 ","ALDES",{"v":1,"d":"1.00 €"},"Sachet 5",15,30]
["MC035","SANITAIRE","MULTICOUCHE","Droit intermédiaire réduit"," 26 x 16 ","ALDES",{"v":1,"d":"1.00 €"},"Sachet 5",15,30]
["MC036","SANITAIRE","MULTICOUCHE","Droit Femelle portée plate et écrou libre tournant ","32 x 1\"","ALDES",{"v":1,"d":"1.00 €"},"Unité",15,30]
["MC037","SANITAIRE","MULTICOUCHE","T intermédiaire réduit "," 32 x 26 x 32 ","ALDES",{"v":1,"d":"1.00 €"},"Sachet 5",5,10]
["MC038","SANITAIRE","MULTICOUCHE","T intermédiaire"," 32 x 32 x 32","ALDES",{"v":1,"d":"1.00 €"},"Sachet 5",5,10]
["MC039","SANITAIRE","MULTICOUCHE","Coude intermédiaire"," 32 x 32","ALDES",{"v":1,"d":"1.00 €"},"Sachet 5",5,10]
["MC040","SANITAIRE","MULTICOUCHE","Droit intermédiaire"," 32 x 32 ","ALDES",{"v":1,"d":"1.00 €"},"Sachet 5",5,10]
["MC041","SANITAIRE","MULTICOUCHE","Droit intermédiaire réduit ","32 x 26 ","ALDES",{"v":1,"d":"1.00 €"},"Sachet 5",5,10]
["MC042","SANITAIRE","MULTICOUCHE","Droit intermédiaire réduit ","32 x 20 ","ALDES",{"v":1,"d":"1.00 €"},"Sachet 5",5,10]
["MC043","SANITAIRE","MULTICOUCHE","Coude intermédiaire ","40 x 40","ALDES",{"v":1,"d":"1.00 €"},"Unité",5,10]
["MC044","SANITAIRE","MULTICOUCHE","Droit intermédiaire"," 40 x 40","ALDES",{"v":1,"d":"1.00 €"},"Unité",5,10]
["MC045","SANITAIRE","MULTICOUCHE","Droit intermédiaire réduit ","40 x 32","ALDES",{"v":1,"d":"1.00 €"},"Unité",5,10]
["MC046","SANITAIRE","MULTICOUCHE","Droit intermédiaire réduit"," 40 x 26","ALDES",{"v":1,"d":"1.00 €"},"Unité",5,10]
["MC047","SANITAIRE","MULTICOUCHE","T intermédiaire","40 x 40 x 40","ALDES",{"v":1,"d":"1.00 €"},"Unité",5,10]
["MC048","SANITAIRE","MULTICOUCHE","Droit Mâle ","20 x 1/2\" ","ALDES",{"v":1,"d":"1.00 €"},"Sachet 10",30,60]
["MC049","SANITAIRE","MULTICOUCHE","Tube Gerpex nu","Ø16 x ep.2 - 100 ml","ALDES",{"v":1,"d":"1.00 €"},"Unité",2,4]
["MC050","SANITAIRE","MULTICOUCHE","Tube Gerpex nu","Ø20 x ep.2 - 100 ml","ALDES",{"v":1,"d":"1.00 €"},"Unité",2,4]
["MC051","SANITAIRE","MULTICOUCHE","Tube Gerpex isolé ","Ø16 x ep.2 - 50 ml","ALDES",{"v":1,"d":"1.00 €"},"Unité",2,4]
["MC052","SANITAIRE","MULTICOUCHE","Tube Gerpex isolé","Ø20 x ep.2 - 50 ml","ALDES",{"v":1,"d":"1.00 €"},"Unité",2,4]
["MC053","SANITAIRE","MULTICOUCHE","Tube Gerpex nu en barre de 4 m ","Ø16 x ep.2 - 96 ml","ALDES",{"v":1,"d":"1.00 €"},"Unité",24,48]
["MC054","SANITAIRE","MULTICOUCHE","Tube Gerpex nu en barre de 4 m ","Ø20 x ep.2 - 96 ml","ALDES",{"v":1,"d":"1.00 €"},"Unité",24,48]
["MC055","SANITAIRE","MULTICOUCHE","Tube Gerpex nu en barre de 4 m","Ø26 x ep.3 - 40 ml","ALDES",{"v":1,"d":"1.00 €"},"Unité",10,20]
["MC056","SANITAIRE","MULTICOUCHE","Tube Gerpex nu en barre de 4 m ","Ø32 x ep.3 - 40 ml","ALDES",{"v":1,"d":"1.00 €"},"Unité",10,20]
["MC057","SANITAIRE","MULTICOUCHE","Tube Gerpex nu en barre de 4 m ","Ø40 x ep.3,5 - 20 ml","ALDES",{"v":1,"d":"1.00 €"},"Unité",5,10]
["MC058","SANITAIRE","MULTICOUCHE","Tube Gerpex nu en barre de 4 m ","Ø50 x ep.4 - 20 ml","ALDES",{"v":1,"d":"1.00 €"},"Unité",5,10]
["P001","PLOMBERIE","FIXATIONS","Collier simple","Ø 10/12","ALDES",{"v":1,"d":"1.00 €"},"Boîte 100",2,4]
["P002","PLOMBERIE","FIXATIONS","Collier simple","Ø 12/14","ALDES",{"v":1,"d":"1.00 €"},"Boîte 100",4,8]
["P003","PLOMBERIE","FIXATIONS","Collier simple","Ø 14/16","ALDES",{"v":1,"d":"1.00 €"},"Boîte 100",4,8]
["P004","PLOMBERIE","FIXATIONS","Collier simple","Ø 16/18","ALDES",{"v":1,"d":"1.00 €"},"Boîte 100",2,4]
["P005","PLOMBERIE","FIXATIONS","Collier simple","Ø 20/22","ALDES",{"v":1,"d":"1.00 €"},"Boîte 100",2,4]
["P006","PLOMBERIE","FIXATIONS","Collier simple","Ø 26/28","ALDES",{"v":1,"d":"1.00 €"},"Boîte 100",2,4]
["P007","PLOMBERIE","FIXATIONS","Collier simple","Ø 30/32","ALDES",{"v":1,"d":"1.00 €"},"Boîte 50",2,6]
["P008","PLOMBERIE","FIXATIONS","Collier simple","Ø 40","ALDES",{"v":1,"d":"1.00 €"},"Boîte 50",2,6]
["P009","PLOMBERIE","FIXATIONS","Collier simple","Ø 50","ALDES",{"v":1,"d":"1.00 €"},"Boîte 25",2,4]
["P010","PLOMBERIE","FIXATIONS","Collier double","Ø 12/14","ALDES",{"v":1,"d":"1.00 €"},"Boîte 100",4,8]
["P011","PLOMBERIE","FIXATIONS","Collier double","Ø 14/16","ALDES",{"v":1,"d":"1.00 €"},"Boîte 50",4,8]
["P012","PLOMBERIE","FIXATIONS","Collier double","Ø 16/18","ALDES",{"v":1,"d":"1.00 €"},"Boîte 50",2,4]
["P013","PLOMBERIE","FIXATIONS","Collier double","Ø 20/22","ALDES",{"v":1,"d":"1.00 €"},"Boîte 50",2,4]
["P014","PLOMBERIE","FIXATIONS","Collier double","Ø 26/28","ALDES",{"v":1,"d":"1.00 €"},"Boîte 25",1,2]
["P015","PLOMBERIE","FIXATIONS","Collier isophonique simple","Ø 12/14","ALDES",{"v":1,"d":"1.00 €"},"Boîte 100",2,4]
["P016","PLOMBERIE","FIXATIONS","Collier isophonique simple","Ø 14/16","ALDES",{"v":1,"d":"1.00 €"},"Boîte 100",2,4]
["P017","PLOMBERIE","FIXATIONS","Collier isophonique simple","Ø 16/18","ALDES",{"v":1,"d":"1.00 €"},"Boîte 100",1,2]
["P018","PLOMBERIE","FIXATIONS","Collier isophonique simple","Ø 20/22","ALDES",{"v":1,"d":"1.00 €"},"Boîte 100",2,4]
["P019","PLOMBERIE","FIXATIONS","Collier isophonique simple","Ø 26/28","ALDES",{"v":1,"d":"1.00 €"},"Boîte 50",1,2]
["P020","PLOMBERIE","FIXATIONS","Collier isophonique simple","Ø 33/36","ALDES",{"v":1,"d":"1.00 €"},"Boîte 50",2,4]
["P021","PLOMBERIE","FIXATIONS","Patte à vis Bois","7 X 150 L 30mm","ALDES",{"v":1,"d":"1.00 €"},"Boîte 100",3,6]
["P022","PLOMBERIE","FIXATIONS","Patte à vis Bois","7 X 150 L 50mm","ALDES",{"v":1,"d":"1.00 €"},"Boîte 100",4,8]
["P023","PLOMBERIE","FIXATIONS","Patte à vis Bois","7 X 150 L 60mm","ALDES",{"v":1,"d":"1.00 €"},"Boîte 100",4,8]
["P024","PLOMBERIE","FIXATIONS","Patte à vis Bois","8 L 60","ALDES",{"v":1,"d":"1.00 €"},"Boîte 100",4,8]
["P025","PLOMBERIE","FIXATIONS","Patte à vis Métaux","6 X 40","ALDES",{"v":1,"d":"1.00 €"},"Boîte 100",4,8]
["P026","PLOMBERIE","FIXATIONS","Patte à vis Métaux","6 X 60","ALDES",{"v":1,"d":"1.00 €"},"Boîte 100",4,8]
["P027","PLOMBERIE","FIXATIONS","Rosace","9 mm","ALDES",{"v":1,"d":"1.00 €"},"Boîte 100",3,6]
["P028","PLOMBERIE","FIXATIONS","Rosace","14 mm","ALDES",{"v":1,"d":"1.00 €"},"Boîte 100",4,10]
["P029","PLOMBERIE","FIXATIONS","Rosace","19 mm","ALDES",{"v":1,"d":"1.00 €"},"Boîte 100",4,8]
["P030","PLOMBERIE","FIXATIONS","Rosace","24 mm","ALDES",{"v":1,"d":"1.00 €"},"Boîte 100",4,8]
["P031","PLOMBERIE","FIXATIONS","Adaptateur","M8 Femelle M7/150","ALDES",{"v":1,"d":"1.00 €"},"Boîte 50",3,6]
["P032","PLOMBERIE","FIXATIONS","Rallonge sanitaire M7/150","10mm","ALDES",{"v":1,"d":"1.00 €"},"Boîte 100",5,10]
["P033","PLOMBERIE","FIXATIONS","Rallonge sanitaire M7/150","20mm","ALDES",{"v":1,"d":"1.00 €"},"Boîte 100",4,10]
["P034","PLOMBERIE","FIXATIONS","Rallonge sanitaire M7/150","30mm","ALDES",{"v":1,"d":"1.00 €"},"Boîte 100",4,8]
["P035","PLOMBERIE","FIXATIONS","Rallonge sanitaire M7/150","40mm","ALDES",{"v":1,"d":"1.00 €"},"Boîte 100",4,8]
["P036","PLOMBERIE","JOINTS","Joints eau, chauffage, gaz","12 X 17","ALDES",{"v":1,"d":"1.00 €"},"Unité",200,400]
["P037","PLOMBERIE","JOINTS","Joints eau, chauffage, gaz","15 X 21","ALDES",{"v":1,"d":"1.00 €"},"Unité",200,400]
["P038","PLOMBERIE","JOINTS","Joints eau, chauffage, gaz","20 X 27","ALDES",{"v":1,"d":"1.00 €"},"Unité",200,400]
["P039","PLOMBERIE","JOINTS","Joints eau, chauffage, gaz","26 X 34","ALDES",{"v":1,"d":"1.00 €"},"Unité",100,200]
["P040","PLOMBERIE","CHEVILLES","Cheville NYLON type Fischer Duopower","Ø 6x30 ","ALDES",{"v":1,"d":"1.00 €"},"Boîte 100",4,8]
["P041","PLOMBERIE","CHEVILLES","Cheville NYLON type Fischer Duopower","Ø 8x40 ","ALDES",{"v":1,"d":"1.00 €"},"Boîte 100",4,10]
["P042","PLOMBERIE","CHEVILLES","Cheville NYLON type Fischer Duopower","Ø 10x50 ","ALDES",{"v":1,"d":"1.00 €"},"Boîte 50",4,8]
["P043","PLOMBERIE","CHEVILLES","Cheville MOLLY+vis","Ø 4 X 32","ALDES",{"v":1,"d":"1.00 €"},"Boîte 100",4,10]
["P044","PLOMBERIE","CHEVILLES","Cheville MOLLY+vis","Ø 6 X 37","ALDES",{"v":1,"d":"1.00 €"},"Boîte 100",4,10]
["P045","PLOMBERIE","CHEVILLES","Cheville MOLLY+vis","Ø 6 X 52","ALDES",{"v":1,"d":"1.00 €"},"Boîte 100",4,10]
["P046","PLOMBERIE","CHEVILLES","Cheville MOLLY+vis","Ø 8 X 52","ALDES",{"v":1,"d":"1.00 €"},"Boîte 50",2,4]
["PV001","EVACUATIONS","PVC","Tube COMPACT - 4m","32 x 3,0","ALDES",{"v":1,"d":"1.00 €"},"ml",160,320]
["PV002","EVACUATIONS","PVC","Tube COMPACT - 4m","40 x 3,0","ALDES",{"v":1,"d":"1.00 €"},"ml",160,320]
["PV003","EVACUATIONS","PVC","Tube COMPACT - 4m","50 x 3,0","ALDES",{"v":1,"d":"1.00 €"},"ml",80,160]
["PV004","EVACUATIONS","PVC","Tube COMPACT - 4m","100 x 3,0","ALDES",{"v":1,"d":"1.00 €"},"ml",100,200]
["PV005","EVACUATIONS","PVC","Tube COMPACT - 4m","125 x 3,2","ALDES",{"v":1,"d":"1.00 €"},"ml",20,40]
["PV006","EVACUATIONS","PVC","Coude  - 45° MF","Ø 32","ALDES",{"v":1,"d":"1.00 €"},"Unité",100,200]
["PV007","EVACUATIONS","PVC","Coude  - 45° MF","Ø 40","ALDES",{"v":1,"d":"1.00 €"},"Unité",50,100]
["PV008","EVACUATIONS","PVC","Coude  - 45° MF","Ø 50","ALDES",{"v":1,"d":"1.00 €"},"Unité",25,50]
["PV009","EVACUATIONS","PVC","Coude  - 45° MF","Ø 100","ALDES",{"v":1,"d":"1.00 €"},"Unité",20,40]
["PV010","EVACUATIONS","PVC","Coude  - 45° MF","Ø 125","ALDES",{"v":1,"d":"1.00 €"},"Unité",5,10]
["PV011","EVACUATIONS","PVC","Coude - 45° FF","Ø 32","ALDES",{"v":1,"d":"1.00 €"},"Unité",100,200]
["PV012","EVACUATIONS","PVC","Coude - 45° FF","Ø 40","ALDES",{"v":1,"d":"1.00 €"},"Unité",50,100]
["PV013","EVACUATIONS","PVC","Coude - 45° FF","Ø 50","ALDES",{"v":1,"d":"1.00 €"},"Unité",25,50]
["PV014","EVACUATIONS","PVC","Coude - 45° FF","Ø 100","ALDES",{"v":1,"d":"1.00 €"},"Unité",20,40]
["PV015","EVACUATIONS","PVC","Coude - 45° FF","Ø 125","ALDES",{"v":1,"d":"1.00 €"},"Unité",5,10]
["PV016","EVACUATIONS","PVC","Coude  - 87°30 MF","Ø 32","ALDES",{"v":1,"d":"1.00 €"},"Unité",50,100]
["PV017","EVACUATIONS","PVC","Coude  - 87°30 MF","Ø 40","ALDES",{"v":1,"d":"1.00 €"},"Unité",50,100]
["PV018","EVACUATIONS","PVC","Coude  - 87°30 MF","Ø 50","ALDES",{"v":1,"d":"1.00 €"},"Unité",50,100]
["PV019","EVACUATIONS","PVC","Coude  - 87°30 MF","Ø 100","ALDES",{"v":1,"d":"1.00 €"},"Unité",30,60]
["PV020","EVACUATIONS","PVC","Coude  - 87°30 MF","Ø 125","ALDES",{"v":1,"d":"1.00 €"},"Unité",5,10]
["PV021","EVACUATIONS","PVC","Coude - 87°30 FF","Ø 32","ALDES",{"v":1,"d":"1.00 €"},"Unité",100,200]
["PV022","EVACUATIONS","PVC","Coude - 87°30 FF","Ø 40","ALDES",{"v":1,"d":"1.00 €"},"Unité",100,200]
["PV023","EVACUATIONS","PVC","Coude - 87°30 FF","Ø 50","ALDES",{"v":1,"d":"1.00 €"},"Unité",50,100]
["PV024","EVACUATIONS","PVC","Coude - 87°30 FF","Ø 100","ALDES",{"v":1,"d":"1.00 €"},"Unité",30,60]
["PV025","EVACUATIONS","PVC","Coude - 87°30 FF","Ø 125","ALDES",{"v":1,"d":"1.00 €"},"Unité",5,10]
["PV026","EVACUATIONS","PVC","Secteur de coude - 15° MF","Ø 100","ALDES",{"v":1,"d":"1.00 €"},"Unité",15,30]
["PV027","EVACUATIONS","PVC","Secteur de coude - 15° MF","Ø 110","ALDES",{"v":1,"d":"1.00 €"},"Unité",2,4]
["PV028","EVACUATIONS","PVC","Secteur de coude - 15° MF","Ø 125","ALDES",{"v":1,"d":"1.00 €"},"Unité",2,4]
["PV029","EVACUATIONS","PVC","Secteur de coude - 30° MF","Ø 100","ALDES",{"v":1,"d":"1.00 €"},"Unité",15,30]
["PV030","EVACUATIONS","PVC","Secteur de coude - 30° MF","Ø 110","ALDES",{"v":1,"d":"1.00 €"},"Unité",2,4]
["PV031","EVACUATIONS","PVC","Secteur de coude - 30° MF","Ø 125","ALDES",{"v":1,"d":"1.00 €"},"Unité",2,4]
["PV032","EVACUATIONS","PVC","Coude double parallèle - 87°30 MF","Ø 100","ALDES",{"v":1,"d":"1.00 €"},"Unité",5,10]
["PV033","EVACUATIONS","PVC","Coude double parallèle - 87°30 FF","Ø 100","ALDES",{"v":1,"d":"1.00 €"},"Unité",5,10]
["PV034","EVACUATIONS","PVC","Coude double équerre - 87°30 MF","Ø 100","ALDES",{"v":1,"d":"1.00 €"},"Unité",2,4]
["PV035","EVACUATIONS","PVC","Coude double équerre - 87°30 FF","Ø 100","ALDES",{"v":1,"d":"1.00 €"},"Unité",2,4]
["PV036","EVACUATIONS","PVC","Té pieds de biche simple - 87°30 MF","Ø 32","ALDES",{"v":1,"d":"1.00 €"},"Unité",50,100]
["PV037","EVACUATIONS","PVC","Té pieds de biche simple - 87°30 MF","Ø 40","ALDES",{"v":1,"d":"1.00 €"},"Unité",50,100]
["PV038","EVACUATIONS","PVC","Té pieds de biche simple - 87°30 MF","Ø 50","ALDES",{"v":1,"d":"1.00 €"},"Unité",25,50]
["PV039","EVACUATIONS","PVC","Té pieds de biche simple - 87°30 FF","Ø 32","ALDES",{"v":1,"d":"1.00 €"},"Unité",50,100]
["PV040","EVACUATIONS","PVC","Té pieds de biche simple - 87°30 FF","Ø 40","ALDES",{"v":1,"d":"1.00 €"},"Unité",50,100]
["PV041","EVACUATIONS","PVC","Té pieds de biche simple - 87°30 FF","Ø 50","ALDES",{"v":1,"d":"1.00 €"},"Unité",50,100]
["PV042","EVACUATIONS","PVC","Culotte simple - 45° MF ","Ø 32","ALDES",{"v":1,"d":"1.00 €"},"Unité",10,20]
["PV043","EVACUATIONS","PVC","Culotte simple - 45° MF ","Ø 40","ALDES",{"v":1,"d":"1.00 €"},"Unité",10,20]
["PV044","EVACUATIONS","PVC","Culotte simple - 45° MF ","Ø 100","ALDES",{"v":1,"d":"1.00 €"},"Unité",30,60]
["PV045","EVACUATIONS","PVC","Culotte simple - 45° FF ","Ø 32","ALDES",{"v":1,"d":"1.00 €"},"Unité",20,40]
["PV046","EVACUATIONS","PVC","Culotte simple - 45° FF ","Ø 40","ALDES",{"v":1,"d":"1.00 €"},"Unité",20,40]
["PV047","EVACUATIONS","PVC","Culotte simple - 45° FF ","Ø 100","ALDES",{"v":1,"d":"1.00 €"},"Unité",20,40]
["PV048","EVACUATIONS","PVC","Culotte simple - 87°30 MF ","Ø 100","ALDES",{"v":1,"d":"1.00 €"},"Unité",30,60]
["PV049","EVACUATIONS","PVC","Culotte simple - 87°30 MF ","Ø 125","ALDES",{"v":1,"d":"1.00 €"},"Unité",5,10]
["PV050","EVACUATIONS","PVC","Culotte simple - 87°30 FF ","Ø 100","ALDES",{"v":1,"d":"1.00 €"},"Unité",30,60]
["PV051","EVACUATIONS","PVC","Culotte simple - 87°30 FF ","Ø 125","ALDES",{"v":1,"d":"1.00 €"},"Unité",5,10]
["PV052","EVACUATIONS","PVC","Culotte double parallèle - 45° MF ","Ø 100","ALDES",{"v":1,"d":"1.00 €"},"Unité",4,8]
["PV053","EVACUATIONS","PVC","Culotte double parallèle - 45° FF ","Ø 100","ALDES",{"v":1,"d":"1.00 €"},"Unité",4,8]
["PV054","EVACUATIONS","PVC","Culotte double parallèle - 67°30 MF ","Ø 100","ALDES",{"v":1,"d":"1.00 €"},"Unité",2,4]
["PV055","EVACUATIONS","PVC","Culotte double parallèle - 67°30 FF ","Ø 100","ALDES",{"v":1,"d":"1.00 €"},"Unité",2,4]
["PV056","EVACUATIONS","PVC","Culotte double parallèle - 87°30 MF ","Ø 100","ALDES",{"v":1,"d":"1.00 €"},"Unité",5,10]
["PV057","EVACUATIONS","PVC","Culotte double parallèle - 87°30 FF ","Ø 100","ALDES",{"v":1,"d":"1.00 €"},"Unité",5,10]
["PV058","EVACUATIONS","PVC","Culotte double équerre - 45° MF ","Ø 100","ALDES",{"v":1,"d":"1.00 €"},"Unité",2,4]
["PV059","EVACUATIONS","PVC","Culotte double équerre - 45° FF ","Ø 100","ALDES",{"v":1,"d":"1.00 €"},"Unité",2,4]
["PV060","EVACUATIONS","PVC","Culotte double équerre - 87°30 MF ","Ø 100","ALDES",{"v":1,"d":"1.00 €"},"Unité",2,4]
["PV061","EVACUATIONS","PVC","Culotte double équerre - 87°30 FF ","Ø 100","ALDES",{"v":1,"d":"1.00 €"},"Unité",2,4]
["PV062","EVACUATIONS","PVC","Manchon de dilatation - simple Vertical MF","Ø 100","ALDES",{"v":1,"d":"1.00 €"},"Unité",15,30]
["PV063","EVACUATIONS","PVC","Manchon de dilatation - simple Horizontal MF","Ø 100","ALDES",{"v":1,"d":"1.00 €"},"Unité",10,20]
["PV064","EVACUATIONS","PVC","Manchette de réparation FF MTH227","Ø 100","ALDES",{"v":1,"d":"1.00 €"},"Unité",2,4]
["PV065","EVACUATIONS","PVC","Manchon FF","Ø 32","ALDES",{"v":1,"d":"1.00 €"},"Unité",50,100]
["PV066","EVACUATIONS","PVC","Manchon FF","Ø 40","ALDES",{"v":1,"d":"1.00 €"},"Unité",50,100]
["PV067","EVACUATIONS","PVC","Manchon FF","Ø 50","ALDES",{"v":1,"d":"1.00 €"},"Unité",30,60]
["PV068","EVACUATIONS","PVC","Manchon FF","Ø 100","ALDES",{"v":1,"d":"1.00 €"},"Unité",20,40]
["PV069","EVACUATIONS","PVC","Réduction incorporée MF","40/32","ALDES",{"v":1,"d":"1.00 €"},"Unité",50,100]
["PV070","EVACUATIONS","PVC","Réduction incorporée MF","50/40","ALDES",{"v":1,"d":"1.00 €"},"Unité",50,100]
["PV071","EVACUATIONS","PVC","Réduction incorporée MF","50/32","ALDES",{"v":1,"d":"1.00 €"},"Unité",50,100]
["PV072","EVACUATIONS","PVC","Tampon de réduction - simple MF","100/50","ALDES",{"v":1,"d":"1.00 €"},"Unité",5,10]
["PV073","EVACUATIONS","PVC","Tampon de réduction - simple MF","100/40","ALDES",{"v":1,"d":"1.00 €"},"Unité",5,10]
["PV074","EVACUATIONS","PVC","Tampon de réduction - simple MF","100/32","ALDES",{"v":1,"d":"1.00 €"},"Unité",5,10]
["PV075","EVACUATIONS","PVC","Tampon de réduction - simple MF","125/100","ALDES",{"v":1,"d":"1.00 €"},"Unité",5,10]
["PV076","EVACUATIONS","PVC","Tampon de réduction - simple MF","93/40","ALDES",{"v":1,"d":"1.00 €"},"Unité",5,10]
["PV077","EVACUATIONS","PVC","Tampon de réduction - simple MF","93/40/40","ALDES",{"v":1,"d":"1.00 €"},"Unité",5,10]
["PV078","EVACUATIONS","PVC","Tampon de réduction - simple MF","93/50","ALDES",{"v":1,"d":"1.00 €"},"Unité",5,10]
["PV079","EVACUATIONS","PVC","Tampon de réduction - double MF","100/40/40","ALDES",{"v":1,"d":"1.00 €"},"Unité",5,10]
["PV080","EVACUATIONS","PVC","Manchette de réparation MF","25,5/32","ALDES",{"v":1,"d":"1.00 €"},"Unité",20,40]
["PV081","EVACUATIONS","PVC","Manchette de réparation MF","93/100","ALDES",{"v":1,"d":"1.00 €"},"Unité",10,20]
["PV082","EVACUATIONS","PVC","Tampon raccordement élastomère - MAFJ","Ø 32","ALDES",{"v":1,"d":"1.00 €"},"Unité",10,20]
["PV083","EVACUATIONS","PVC","Tampon raccordement élastomère - MAHJ","Ø 40","ALDES",{"v":1,"d":"1.00 €"},"Unité",10,20]
["PV084","EVACUATIONS","PVC","Tampon visite bouchon - MF","Ø 32","ALDES",{"v":1,"d":"1.00 €"},"Unité",50,100]
["PV085","EVACUATIONS","PVC","Tampon visite bouchon - MF","Ø 40","ALDES",{"v":1,"d":"1.00 €"},"Unité",50,100]
["PV086","EVACUATIONS","PVC","Tampon visite bouchon - MF","Ø 50","ALDES",{"v":1,"d":"1.00 €"},"Unité",50,100]
["PV087","EVACUATIONS","PVC","Tampon visite bouchon - MF","Ø 100","ALDES",{"v":1,"d":"1.00 €"},"Unité",30,60]
["S001","SANITAIRE","FIXATIONS","Fixations WC",null,"ALDES",{"v":1,"d":"1.00 €"},"Sachet 2",10,20]
["S002","SANITAIRE","FIXATIONS","Fixations Lavabo - Béton",null,"ALDES",{"v":1,"d":"1.00 €"},"Sachet 2",5,10]
["S003","SANITAIRE","FIXATIONS","Fixations Lavabo - Cloisons Sèches",null,"ALDES",{"v":1,"d":"1.00 €"},"Sachet 2",5,10]
["S004","SANITAIRE","FIXATIONS","Fixations Chauffe Eau",null,"ALDES",{"v":1,"d":"1.00 €"},"Sachet 2",5,10]
["S005","SANITAIRE","FIXATIONS","Fixations Contre Plaque - L 150 mm",null,"ALDES",{"v":1,"d":"1.00 €"},"Sachet 2",5,10]
["S006","SANITAIRE","FIXATIONS","Robifix - raccordement 12/14","entraxe 150mm ","ALDES",{"v":1,"d":"1.00 €"},"Unité",10,20]
["S007","SANITAIRE","LAVABO","easyPHON - Joint intégré","32/32","ALDES",{"v":1,"d":"1.00 €"},"Unité",10,20]
["S008","SANITAIRE","LAVABO","easyPHON  - Joint intégré","32/40","ALDES",{"v":1,"d":"1.00 €"},"Unité",5,10]
["S009","SANITAIRE","LAVABO","Bonde plastique à grille","Ø 55","ALDES",{"v":1,"d":"1.00 €"},"Unité",3,6]
["S010","SANITAIRE","LAVABO","Bonde plastique à grille","Ø 63","ALDES",{"v":1,"d":"1.00 €"},"Unité",3,6]
["S011","SANITAIRE","EVIER","easyPHON  - Joint intégré","40/40","ALDES",{"v":1,"d":"1.00 €"},"Unité",10,20]
["S012","SANITAIRE","GROUPE SECURITE","Siphon plastique - Joint intégré","SORTIE G 1\"1/4","ALDES",{"v":1,"d":"1.00 €"},"Unité",5,10]
["S013","SANITAIRE","SIPHON","de parcours - entrée horizontale","Ø 32","ALDES",{"v":1,"d":"1.00 €"},"Unité",5,10]
["S014","SANITAIRE","SIPHON","de parcours - entrée horizontale","Ø 40","ALDES",{"v":1,"d":"1.00 €"},"Unité",5,10]
["S015","SANITAIRE","SIPHON MACHINE A LAVER","Simple - sortie horizontale","Ø 40","ALDES",{"v":1,"d":"1.00 €"},"Unité",10,20]
["S016","SANITAIRE","WC","Raccord WC - sortie droite","Ø 85 / Ø 107","ALDES",{"v":1,"d":"1.00 €"},"Unité",2,4]
["S017","SANITAIRE","WC","Raccord WC- sortie droite","Ø 85 / Ø 107  - L400","ALDES",{"v":1,"d":"1.00 €"},"Unité",2,4]
["S018","SANITAIRE","WC","Raccord WC - pipe longue","L350 PIPUNIC","ALDES",{"v":1,"d":"1.00 €"},"Unité",10,20]
["S019","SANITAIRE","WC","Raccord WC - pipe longue","PIQUAGE F Ø 40","ALDES",{"v":1,"d":"1.00 €"},"Unité",2,4]
["S020","SANITAIRE","WC","Raccord WC -  pipe orientable","Ø 85 / Ø 107 1pwor","ALDES",{"v":1,"d":"1.00 €"},"Unité",2,4]
["S021","SANITAIRE","WC","Mécanisme de chasse Universel",null,"ALDES",{"v":1,"d":"1.00 €"},"Unité",3,6]
["S022","SANITAIRE","WC","Robinet flotteur - alimentation latérale",null,"ALDES",{"v":1,"d":"1.00 €"},"Unité",3,6]
["S023","SANITAIRE","WC","Robinet d'arrêt - équerre","G 3/8\" MANETTE Ø 10","ALDES",{"v":1,"d":"1.00 €"},"Unité",10,20]
["S024","SANITAIRE","WC","Robinet d'arrêt - droit","MICRO ECROU  G3/8\" MANETTE Ø 10","ALDES",{"v":1,"d":"1.00 €"},"Unité",10,20]
["S025","SANITAIRE","ACCESSOIRES","Clapet aérateur/équilibreur de pression - DTA","Ø 32-40-50","ALDES",{"v":1,"d":"1.00 €"},"Unité",3,6]
["S026","SANITAIRE","ACCESSOIRES","Clapet aérateur/équilibreur de pression - DTA","Ø 110-100","ALDES",{"v":1,"d":"1.00 €"},"Unité",5,10]
["S027","SANITAIRE","ACCESSOIRES","Applique MàL - écrou","14 - 15/21","ALDES",{"v":1,"d":"1.00 €"},"Unité",20,40]
["S028","SANITAIRE","ACCESSOIRES","Réducteur de pression - chauffe eau","20/27","ALDES",{"v":1,"d":"1.00 €"},"Unité",3,6]
["S029","SANITAIRE","ACCESSOIRES","Réducteur de pression MULTI7","20/27","ALDES",{"v":1,"d":"1.00 €"},"Unité",3,6]
["S030","SANITAIRE","ACCESSOIRES","Groupe de sécurité ","20X27 droit","ALDES",{"v":1,"d":"1.00 €"},"Unité",5,10]
["S031","SANITAIRE","ACCESSOIRES","Robinet de machine à laver","15/21 - 20/27","ALDES",{"v":1,"d":"1.00 €"},"Unité",10,20]
["S032","SANITAIRE","ACCESSOIRES","Robinet d'arrosage - Boisseau Sphérique","15/21 - 20/27","ALDES",{"v":1,"d":"1.00 €"},"Unité",10,20]
["SC001","SANITAIRE","CUIVRE","Coude petit rayon 90° FF","Ø 18","ALDES",{"v":1,"d":"1.00 €"},"Unité",50,100]
["SC002","SANITAIRE","CUIVRE","Coude petit rayon 90° FF","Ø 22","ALDES",{"v":1,"d":"1.00 €"},"Unité",50,100]
["SC003","SANITAIRE","CUIVRE","Coude petit rayon 90° FF","Ø 28","ALDES",{"v":1,"d":"1.00 €"},"Unité",50,100]
["SC004","SANITAIRE","CUIVRE","Coude petit rayon 90° FF","Ø 32","ALDES",{"v":1,"d":"1.00 €"},"Unité",20,40]
["SC005","SANITAIRE","CUIVRE","Coude petit rayon 90° FF","Ø 35","ALDES",{"v":1,"d":"1.00 €"},"Unité",20,40]
["SC006","SANITAIRE","CUIVRE","Coude petit rayon 90° FF","Ø 40","ALDES",{"v":1,"d":"1.00 €"},"Unité",20,40]
["SC007","SANITAIRE","CUIVRE","Coude petit rayon 90° FF","Ø 42","ALDES",{"v":1,"d":"1.00 €"},"Unité",20,40]
["SC008","SANITAIRE","CUIVRE","Coude petit rayon 90° FF","Ø 52","ALDES",{"v":1,"d":"1.00 €"},"Unité",2,4]
["SC009","SANITAIRE","CUIVRE","Coude petit rayon 90° FF","Ø 54","ALDES",{"v":1,"d":"1.00 €"},"Unité",2,4]
["SC010","SANITAIRE","CUIVRE","Coude petit rayon 90° MF","Ø 12","ALDES",{"v":1,"d":"1.00 €"},"Unité",20,40]
["SC011","SANITAIRE","CUIVRE","Coude petit rayon 90° MF","Ø 14","ALDES",{"v":1,"d":"1.00 €"},"Unité",100,200]
["SC012","SANITAIRE","CUIVRE","Coude petit rayon 90° MF","Ø 16","ALDES",{"v":1,"d":"1.00 €"},"Unité",100,200]
["SC013","SANITAIRE","CUIVRE","Coude petit rayon 90° MF","Ø 18","ALDES",{"v":1,"d":"1.00 €"},"Unité",50,100]
["SC014","SANITAIRE","CUIVRE","Coude petit rayon 90° MF","Ø 22","ALDES",{"v":1,"d":"1.00 €"},"Unité",50,100]
["SC015","SANITAIRE","CUIVRE","Coude petit rayon 90° MF","Ø 28","ALDES",{"v":1,"d":"1.00 €"},"Unité",50,100]
["SC016","SANITAIRE","CUIVRE","Coude petit rayon 90° MF","Ø 32","ALDES",{"v":1,"d":"1.00 €"},"Unité",20,40]
["SC017","SANITAIRE","CUIVRE","Coude petit rayon 90° MF","Ø 35","ALDES",{"v":1,"d":"1.00 €"},"Unité",20,40]
["SC018","SANITAIRE","CUIVRE","Coude petit rayon 90° MF","Ø 40","ALDES",{"v":1,"d":"1.00 €"},"Unité",20,40]
["SC019","SANITAIRE","CUIVRE","Coude petit rayon 90° MF","Ø 42","ALDES",{"v":1,"d":"1.00 €"},"Unité",20,40]
["SC020","SANITAIRE","CUIVRE","Coude petit rayon 90° MF","Ø 52","ALDES",{"v":1,"d":"1.00 €"},"Unité",2,4]
["SC021","SANITAIRE","CUIVRE","Coude petit rayon 90° MF","Ø 54","ALDES",{"v":1,"d":"1.00 €"},"Unité",2,4]
["SC022","SANITAIRE","CUIVRE","Coude grand rayon 90° FF","Ø 14","ALDES",{"v":1,"d":"1.00 €"},"Unité",10,20]
["SC023","SANITAIRE","CUIVRE","Coude grand rayon 90° FF","Ø 16","ALDES",{"v":1,"d":"1.00 €"},"Unité",10,20]
["SC024","SANITAIRE","CUIVRE","Coude grand rayon 90° MF","Ø 14","ALDES",{"v":1,"d":"1.00 €"},"Unité",10,20]
["SC025","SANITAIRE","CUIVRE","Coude grand rayon 90° MF","Ø 16","ALDES",{"v":1,"d":"1.00 €"},"Unité",10,20]
["SC026","SANITAIRE","CUIVRE","Courbe  45° FF","Ø 22","ALDES",{"v":1,"d":"1.00 €"},"Unité",20,40]
["SC027","SANITAIRE","CUIVRE","Courbe  45° FF","Ø 28","ALDES",{"v":1,"d":"1.00 €"},"Unité",5,10]
["SC028","SANITAIRE","CUIVRE","Courbe  45° FF","Ø 32","ALDES",{"v":1,"d":"1.00 €"},"Unité",5,10]
["SC029","SANITAIRE","CUIVRE","Courbe 45° MF","Ø 22","ALDES",{"v":1,"d":"1.00 €"},"Unité",20,40]
["SC030","SANITAIRE","CUIVRE","Courbe 45° MF","Ø 28","ALDES",{"v":1,"d":"1.00 €"},"Unité",5,10]
["SC031","SANITAIRE","CUIVRE","Courbe 45° MF","Ø 32","ALDES",{"v":1,"d":"1.00 €"},"Unité",5,10]
["SC032","SANITAIRE","CUIVRE","Bouchon F","Ø 14","ALDES",{"v":1,"d":"1.00 €"},"Unité",5,10]
["SC033","SANITAIRE","CUIVRE","Bouchon F","Ø 16","ALDES",{"v":1,"d":"1.00 €"},"Unité",5,10]
["SC034","SANITAIRE","CUIVRE","Bouchon F","Ø 18","ALDES",{"v":1,"d":"1.00 €"},"Unité",2,4]
["SC035","SANITAIRE","CUIVRE","Bouchon F","Ø 22","ALDES",{"v":1,"d":"1.00 €"},"Unité",2,4]
["SC036","SANITAIRE","CUIVRE","Bouchon F","Ø 28","ALDES",{"v":1,"d":"1.00 €"},"Unité",2,4]
["SC037","SANITAIRE","CUIVRE","Bouchon F","Ø 32","ALDES",{"v":1,"d":"1.00 €"},"Unité",2,4]
["SC038","SANITAIRE","CUIVRE","Té égal 90°","Ø 14","ALDES",{"v":1,"d":"1.00 €"},"Unité",50,100]
["SC039","SANITAIRE","CUIVRE","Té égal 90°","Ø 16","ALDES",{"v":1,"d":"1.00 €"},"Unité",50,100]
["SC040","SANITAIRE","CUIVRE","Té égal 90°","Ø 18","ALDES",{"v":1,"d":"1.00 €"},"Unité",50,100]
["SC041","SANITAIRE","CUIVRE","Té égal 90°","Ø 22","ALDES",{"v":1,"d":"1.00 €"},"Unité",20,40]
["SC042","SANITAIRE","CUIVRE","Té égal 90°","Ø 28","ALDES",{"v":1,"d":"1.00 €"},"Unité",10,20]
["SC043","SANITAIRE","CUIVRE","Manchon égal FF","Ø 14","ALDES",{"v":1,"d":"1.00 €"},"Unité",20,40]
["SC044","SANITAIRE","CUIVRE","Manchon égal FF","Ø 16","ALDES",{"v":1,"d":"1.00 €"},"Unité",20,40]
["SC045","SANITAIRE","CUIVRE","Manchon égal FF","Ø 18","ALDES",{"v":1,"d":"1.00 €"},"Unité",20,40]
["SC046","SANITAIRE","CUIVRE","Manchon égal FF","Ø 22","ALDES",{"v":1,"d":"1.00 €"},"Unité",20,40]
["SC047","SANITAIRE","CUIVRE","Manchon égal FF","Ø 28","ALDES",{"v":1,"d":"1.00 €"},"Unité",20,40]
["SC048","SANITAIRE","CUIVRE","Manchon égal FF","Ø 32","ALDES",{"v":1,"d":"1.00 €"},"Unité",2,4]
["SC049","SANITAIRE","CUIVRE","Réduction FF","Ø 18/14","ALDES",{"v":1,"d":"1.00 €"},"Unité",20,40]
["SC050","SANITAIRE","CUIVRE","Réduction FF","Ø 18/16","ALDES",{"v":1,"d":"1.00 €"},"Unité",20,40]
["SC051","SANITAIRE","CUIVRE","Réduction FF","Ø 22/14","ALDES",{"v":1,"d":"1.00 €"},"Unité",20,40]
["SC052","SANITAIRE","CUIVRE","Réduction FF","Ø 22/16","ALDES",{"v":1,"d":"1.00 €"},"Unité",20,40]
["SC053","SANITAIRE","CUIVRE","Réduction FF","Ø 22/18","ALDES",{"v":1,"d":"1.00 €"},"Unité",10,20]
["SC054","SANITAIRE","CUIVRE","Réduction FF","Ø 28/22","ALDES",{"v":1,"d":"1.00 €"},"Unité",20,40]
["SC055","SANITAIRE","CUIVRE","Réduction FF","Ø 32/22","ALDES",{"v":1,"d":"1.00 €"},"Unité",2,4]
["SC056","SANITAIRE","CUIVRE","Réduction FF","Ø 32/28","ALDES",{"v":1,"d":"1.00 €"},"Unité",2,4]
["SC057","SANITAIRE","CUIVRE","Raccord 2 pièces douille coude - visser / souder","20/27 Ø 14","ALDES",{"v":1,"d":"1.00 €"},"Unité",20,40]
["SC058","SANITAIRE","CUIVRE","Raccord 2 pièces douille coude - visser / souder","20/27 Ø 16","ALDES",{"v":1,"d":"1.00 €"},"Unité",20,40]
["SC059","SANITAIRE","CUIVRE","Raccord 2 pièces douille coude - visser / souder","20/27 Ø 18","ALDES",{"v":1,"d":"1.00 €"},"Unité",20,40]
["SC060","SANITAIRE","CUIVRE","Raccord 2 pièces douille coude - visser / souder","15/21 Ø 14","ALDES",{"v":1,"d":"1.00 €"},"Unité",20,40]
["SC061","SANITAIRE","CUIVRE","Raccord 2 pièces douille coude - visser / souder","15/21 Ø 16","ALDES",{"v":1,"d":"1.00 €"},"Unité",20,40]
["SC062","SANITAIRE","CUIVRE","Raccord 2 pièces douille droit - visser / souder","20/27 Ø 14","ALDES",{"v":1,"d":"1.00 €"},"Unité",20,40]
["SC063","SANITAIRE","CUIVRE","Raccord 2 pièces douille droit - visser / souder","20/27 Ø 16","ALDES",{"v":1,"d":"1.00 €"},"Unité",20,40]
["SC064","SANITAIRE","CUIVRE","Raccord 2 pièces douille droit - visser / souder","20/27 Ø 18","ALDES",{"v":1,"d":"1.00 €"},"Unité",20,40]
["SC065","SANITAIRE","CUIVRE","Raccord 2 pièces douille droit - visser / souder","20/27 Ø 22","ALDES",{"v":1,"d":"1.00 €"},"Unité",30,60]
["SC066","SANITAIRE","CUIVRE","Raccord 2 pièces douille droit - visser / souder","15/21 Ø 14","ALDES",{"v":1,"d":"1.00 €"},"Unité",50,100]
["SC067","SANITAIRE","CUIVRE","Raccord 2 pièces douille droit - visser / souder","15/21 Ø 16","ALDES",{"v":1,"d":"1.00 €"},"Unité",50,100]
["SC068","SANITAIRE","CUIVRE","Raccord 2 pièces douille droit - visser / souder","12/17 Ø 12","ALDES",{"v":1,"d":"1.00 €"},"Unité",50,100]
["SC069","SANITAIRE","CUIVRE","Raccord 2 pièces douille droit - visser / visser","20-27","ALDES",{"v":1,"d":"1.00 €"},"Unité",10,20]
["SL001","SANITAIRE","LAITON","Tube fileté 1m","15/21","ALDES",{"v":1,"d":"1.00 €"},"Unité",2,5]
["SL002","SANITAIRE","LAITON","Tube fileté 1m","20/27","ALDES",{"v":1,"d":"1.00 €"},"Unité",2,5]
["SL003","SANITAIRE","LAITON","Bouchon F","12/17","ALDES",{"v":1,"d":"1.00 €"},"Unité",100,200]
["SL004","SANITAIRE","LAITON","Bouchon F","15/21","ALDES",{"v":1,"d":"1.00 €"},"Unité",100,200]
["SL005","SANITAIRE","LAITON","Bouchon F","20/27","ALDES",{"v":1,"d":"1.00 €"},"Unité",100,200]
["SL006","SANITAIRE","LAITON","Bouchon F","26/34","ALDES",{"v":1,"d":"1.00 €"},"Unité",10,20]
["SL007","SANITAIRE","LAITON","Bouchon M","12/17","ALDES",{"v":1,"d":"1.00 €"},"Unité",20,40]
["SL008","SANITAIRE","LAITON","Bouchon M","15/21","ALDES",{"v":1,"d":"1.00 €"},"Unité",20,40]
["SL009","SANITAIRE","LAITON","Bouchon M","20/27","ALDES",{"v":1,"d":"1.00 €"},"Unité",50,100]
["SL010","SANITAIRE","LAITON","Bouchon M","26/34","ALDES",{"v":1,"d":"1.00 €"},"Unité",10,20]
["SL011","SANITAIRE","LAITON","Bouchon M","33/42","ALDES",{"v":1,"d":"1.00 €"},"Unité",10,20]
["SL012","SANITAIRE","LAITON","Bouchon M","40/49","ALDES",{"v":1,"d":"1.00 €"},"Unité",10,20]
["SL013","SANITAIRE","LAITON","Coude 90° FF","12/17","ALDES",{"v":1,"d":"1.00 €"},"Unité",20,40]
["SL014","SANITAIRE","LAITON","Coude 90° FF","15/21","ALDES",{"v":1,"d":"1.00 €"},"Unité",20,40]
["SL015","SANITAIRE","LAITON","Coude 90° FF","20/27","ALDES",{"v":1,"d":"1.00 €"},"Unité",20,40]
["SL016","SANITAIRE","LAITON","Coude 90° MF","12/17","ALDES",{"v":1,"d":"1.00 €"},"Unité",50,100]
["SL017","SANITAIRE","LAITON","Coude 90° MF","15/21","ALDES",{"v":1,"d":"1.00 €"},"Unité",50,100]
["SL018","SANITAIRE","LAITON","Coude 90° MF","20/27","ALDES",{"v":1,"d":"1.00 €"},"Unité",50,100]
["SL019","SANITAIRE","LAITON","Coude 90° MF","26/34","ALDES",{"v":1,"d":"1.00 €"},"Unité",10,20]
["SL020","SANITAIRE","LAITON","Coude 90° MF","33/42","ALDES",{"v":1,"d":"1.00 €"},"Unité",10,20]
["SL021","SANITAIRE","LAITON","Coude 90° MM","12/17","ALDES",{"v":1,"d":"1.00 €"},"Unité",20,40]
["SL022","SANITAIRE","LAITON","Coude 90° MM","15/21","ALDES",{"v":1,"d":"1.00 €"},"Unité",20,40]
["SL023","SANITAIRE","LAITON","Coude 90° MM","20/27","ALDES",{"v":1,"d":"1.00 €"},"Unité",20,40]
["SL024","SANITAIRE","LAITON","Té Femelle","12/17","ALDES",{"v":1,"d":"1.00 €"},"Unité",20,40]
["SL025","SANITAIRE","LAITON","Té Femelle","15/21","ALDES",{"v":1,"d":"1.00 €"},"Unité",20,40]
["SL026","SANITAIRE","LAITON","Té Femelle","20/27","ALDES",{"v":1,"d":"1.00 €"},"Unité",20,40]
["SL027","SANITAIRE","LAITON","Té Femelle","26/34","ALDES",{"v":1,"d":"1.00 €"},"Unité",10,20]
["SL028","SANITAIRE","LAITON","Té Femelle","33/42","ALDES",{"v":1,"d":"1.00 €"},"Unité",3,6]
["SL029","SANITAIRE","LAITON","Mamelon MM","12/17","ALDES",{"v":1,"d":"1.00 €"},"Unité",50,100]
["SL030","SANITAIRE","LAITON","Mamelon MM","15/21","ALDES",{"v":1,"d":"1.00 €"},"Unité",100,200]
["SL031","SANITAIRE","LAITON","Mamelon MM","20/27","ALDES",{"v":1,"d":"1.00 €"},"Unité",100,200]
["SL032","SANITAIRE","LAITON","Mamelon MM","26/34","ALDES",{"v":1,"d":"1.00 €"},"Unité",20,40]
["SL033","SANITAIRE","LAITON","Mamelon MF égal","15/21","ALDES",{"v":1,"d":"1.00 €"},"Unité",20,40]
["SL034","SANITAIRE","LAITON","Mamelon MF égal","20/27","ALDES",{"v":1,"d":"1.00 €"},"Unité",20,40]
["SL035","SANITAIRE","LAITON","Mamelon MM réduit","12/17 - 15/21","ALDES",{"v":1,"d":"1.00 €"},"Unité",10,20]
["SL036","SANITAIRE","LAITON","Mamelon MM réduit","15/21 – 20/27","ALDES",{"v":1,"d":"1.00 €"},"Unité",10,20]
["SL037","SANITAIRE","LAITON","Mamelon MM réduit","20/27 – 26/34","ALDES",{"v":1,"d":"1.00 €"},"Unité",10,20]
["SL038","SANITAIRE","LAITON","Mamelon MM réduit","26/34 – 33/42","ALDES",{"v":1,"d":"1.00 €"},"Unité",2,4]
["SL039","SANITAIRE","LAITON","Mamelon MF réduit","12/17 – 8/13","ALDES",{"v":1,"d":"1.00 €"},"Unité",10,20]
["SL040","SANITAIRE","LAITON","Mamelon MF réduit","15/21 – 8/13","ALDES",{"v":1,"d":"1.00 €"},"Unité",10,20]
["SL041","SANITAIRE","LAITON","Mamelon MF réduit","15/21 – 12/17","ALDES",{"v":1,"d":"1.00 €"},"Unité",20,40]
["SL042","SANITAIRE","LAITON","Mamelon MF réduit","20/27 – 12/17","ALDES",{"v":1,"d":"1.00 €"},"Unité",20,40]
["SL043","SANITAIRE","LAITON","Mamelon MF réduit","20/27 – 15/21","ALDES",{"v":1,"d":"1.00 €"},"Unité",20,40]
["SL044","SANITAIRE","LAITON","Mamelon MF réduit","26/34 – 15/21","ALDES",{"v":1,"d":"1.00 €"},"Unité",5,10]
["SL045","SANITAIRE","LAITON","Mamelon MF réduit","26/34 – 20/27","ALDES",{"v":1,"d":"1.00 €"},"Unité",5,10]
["SL046","SANITAIRE","LAITON","Mamelon MF réduit","33/42 – 26/34","ALDES",{"v":1,"d":"1.00 €"},"Unité",3,6]
["SL047","SANITAIRE","LAITON","Mamelon FF réduit","15/21 – 12/17","ALDES",{"v":1,"d":"1.00 €"},"Unité",3,6]
["SL048","SANITAIRE","LAITON","Réduction - butée MF","15/21 – 12/17","ALDES",{"v":1,"d":"1.00 €"},"Unité",20,40]
["SL049","SANITAIRE","LAITON","Réduction - butée MF","20/27 – 15/21","ALDES",{"v":1,"d":"1.00 €"},"Unité",20,40]
["SL050","SANITAIRE","LAITON","Coude 90° F - souder","14 – 15/21","ALDES",{"v":1,"d":"1.00 €"},"Unité",20,40]
["SL051","SANITAIRE","LAITON","Coude 90° F - souder","16 – 15/21","ALDES",{"v":1,"d":"1.00 €"},"Unité",20,40]
["SL052","SANITAIRE","LAITON","Coude 90° M - souder","14 – 15/21","ALDES",{"v":1,"d":"1.00 €"},"Unité",50,100]
["SL053","SANITAIRE","LAITON","Coude 90° M - souder","16 – 15/21","ALDES",{"v":1,"d":"1.00 €"},"Unité",50,100]
["SL054","SANITAIRE","LAITON","Manchon F - souder","12 – 15/21","ALDES",{"v":1,"d":"1.00 €"},"Unité",100,200]
["SL055","SANITAIRE","LAITON","Manchon F - souder","14 – 15/21","ALDES",{"v":1,"d":"1.00 €"},"Unité",100,200]
["SL056","SANITAIRE","LAITON","Manchon F - souder","16 – 20/27","ALDES",{"v":1,"d":"1.00 €"},"Unité",100,200]
["SL057","SANITAIRE","LAITON","Manchon F - souder","22 – 20/27","ALDES",{"v":1,"d":"1.00 €"},"Unité",50,100]
["SL058","SANITAIRE","LAITON","Manchon F - souder","28 – 26/34","ALDES",{"v":1,"d":"1.00 €"},"Unité",20,40]
["SL059","SANITAIRE","LAITON","Manchon M - souder","14 – 12/17","ALDES",{"v":1,"d":"1.00 €"},"Unité",100,200]
["SL060","SANITAIRE","LAITON","Manchon M - souder","14 – 15/21","ALDES",{"v":1,"d":"1.00 €"},"Unité",100,200]
["SL061","SANITAIRE","LAITON","Manchon M - souder","16 – 15/21","ALDES",{"v":1,"d":"1.00 €"},"Unité",100,200]
["SL062","SANITAIRE","LAITON","Manchon M - souder","16– 20/27","ALDES",{"v":1,"d":"1.00 €"},"Unité",100,200]
["SL063","SANITAIRE","LAITON","Manchon M - souder","18 – 20/27","ALDES",{"v":1,"d":"1.00 €"},"Unité",50,100]
["SL064","SANITAIRE","LAITON","Manchon M - souder","18 – 26/34","ALDES",{"v":1,"d":"1.00 €"},"Unité",50,100]
["SL065","SANITAIRE","LAITON","Manchon M - souder","22 – 20/27","ALDES",{"v":1,"d":"1.00 €"},"Unité",20,40]
["SL066","SANITAIRE","LAITON","Manchon M - souder","22 – 26/34","ALDES",{"v":1,"d":"1.00 €"},"Unité",20,40]
["SL067","SANITAIRE","LAITON","Manchon M - souder","28 – 26/34","ALDES",{"v":1,"d":"1.00 €"},"Unité",10,20]
["SL068","SANITAIRE","LAITON","Manchon M - souder","28 – 33/42","ALDES",{"v":1,"d":"1.00 €"},"Unité",10,20]
["SL069","SANITAIRE","LAITON","Raccord 3 pièces M - souder","14 – 12/17","ALDES",{"v":1,"d":"1.00 €"},"Unité",50,100]
["SL070","SANITAIRE","LAITON","Raccord 3 pièces M - souder","14 – 15/21","ALDES",{"v":1,"d":"1.00 €"},"Unité",100,200]
["SL071","SANITAIRE","LAITON","Raccord 3 pièces M - souder","14 – 20/27","ALDES",{"v":1,"d":"1.00 €"},"Unité",40,80]
["SL072","SANITAIRE","LAITON","Raccord 3 pièces M - souder","16 – 15/21","ALDES",{"v":1,"d":"1.00 €"},"Unité",100,200]
["SL073","SANITAIRE","LAITON","Raccord 3 pièces M - souder","16 – 20/27","ALDES",{"v":1,"d":"1.00 €"},"Unité",100,200]
["SL074","SANITAIRE","LAITON","Raccord 3 pièces M - souder","18 – 20/27","ALDES",{"v":1,"d":"1.00 €"},"Unité",100,200]
["SL075","SANITAIRE","LAITON","Raccord 3 pièces M - souder","22 – 20/27","ALDES",{"v":1,"d":"1.00 €"},"Unité",100,200]
["SL076","SANITAIRE","LAITON","Raccord 3 pièces M - souder","22 – 26/34","ALDES",{"v":1,"d":"1.00 €"},"Unité",50,100]
["SL077","SANITAIRE","LAITON","Raccord 3 pièces M - souder","28 – 26/34","ALDES",{"v":1,"d":"1.00 €"},"Unité",50,100]
["SL078","SANITAIRE","LAITON","Raccord 3 pièces F - souder","14 – 15/21","ALDES",{"v":1,"d":"1.00 €"},"Unité",50,100]
["SL079","SANITAIRE","LAITON","Raccord 3 pièces F - souder","14 – 20/27","ALDES",{"v":1,"d":"1.00 €"},"Unité",20,40]
["SL080","SANITAIRE","LAITON","Raccord 3 pièces F - souder","16 – 15/21","ALDES",{"v":1,"d":"1.00 €"},"Unité",50,100]
["SL081","SANITAIRE","LAITON","Raccord 3 pièces F - souder","16 – 20/27","ALDES",{"v":1,"d":"1.00 €"},"Unité",50,100]
["SL082","SANITAIRE","LAITON","Raccord 3 pièces F - souder","18 – 20/27","ALDES",{"v":1,"d":"1.00 €"},"Unité",50,100]
["SL083","SANITAIRE","LAITON","Raccord 3 pièces F - souder","22 – 20/27","ALDES",{"v":1,"d":"1.00 €"},"Unité",50,100]
["SL084","SANITAIRE","LAITON","Raccord 3 pièces F - souder","22 – 26/34","ALDES",{"v":1,"d":"1.00 €"},"Unité",20,40]
["SL085","SANITAIRE","LAITON","Raccord 3 pièces F - souder","28 – 26/34","ALDES",{"v":1,"d":"1.00 €"},"Unité",20,40]
["SL086","SANITAIRE","LAITON","Vanne BS FF - poignée","12/17","ALDES",{"v":1,"d":"1.00 €"},"Unité",20,40]
["SL087","SANITAIRE","LAITON","Vanne BS FF - poignée","15/21","ALDES",{"v":1,"d":"1.00 €"},"Unité",20,40]
["SL088","SANITAIRE","LAITON","Vanne BS FF - poignée","20/27","ALDES",{"v":1,"d":"1.00 €"},"Unité",40,80]
["SL089","SANITAIRE","LAITON","Vanne BS FF - poignée","26/34","ALDES",{"v":1,"d":"1.00 €"},"Unité",10,20]
["SL090","SANITAIRE","LAITON","Vanne BS FF - poignée","33/42","ALDES",{"v":1,"d":"1.00 €"},"Unité",3,6]
["SL091","SANITAIRE","LAITON","Vanne BS FF - poignée","40/49","ALDES",{"v":1,"d":"1.00 €"},"Unité",2,4]
["SL092","SANITAIRE","LAITON","Vanne BS FF - poignée","50/60","ALDES",{"v":1,"d":"1.00 €"},"Unité",2,4]
["SL093","SANITAIRE","LAITON","Vanne BS MF - poignée","15/21","ALDES",{"v":1,"d":"1.00 €"},"Unité",10,20]
["SL094","SANITAIRE","LAITON","Vanne BS MF - poignée","20/27","ALDES",{"v":1,"d":"1.00 €"},"Unité",3,6]
["SL095","SANITAIRE","LAITON","Vanne BS MF - poignée","26/34","ALDES",{"v":1,"d":"1.00 €"},"Unité",3,6]
["SL096","SANITAIRE","LAITON","Vanne BS MM -poignée","12/17","ALDES",{"v":1,"d":"1.00 €"},"Unité",3,6]
["SL097","SANITAIRE","LAITON","Vanne BS MM -poignée","15/21","ALDES",{"v":1,"d":"1.00 €"},"Unité",3,6]
["SL098","SANITAIRE","LAITON","Vanne BS MM -poignée","20/27","ALDES",{"v":1,"d":"1.00 €"},"Unité",3,6]
["SL099","SANITAIRE","LAITON","Vanne BS MM -poignée","26/34","ALDES",{"v":1,"d":"1.00 €"},"Unité",3,6]
["SL100","SANITAIRE","LAITON","Vanne BS FF - poignée - purge","15/21","ALDES",{"v":1,"d":"1.00 €"},"Unité",10,20]
["SL101","SANITAIRE","LAITON","Vanne BS FF - poignée - purge","20/27","ALDES",{"v":1,"d":"1.00 €"},"Unité",5,10]
["SL102","SANITAIRE","LAITON","Vanne BS MF - poignée oreillette/papillon","12/17","ALDES",{"v":1,"d":"1.00 €"},"Unité",10,20]
["SL103","SANITAIRE","LAITON","Clapet antipollution contrôlable MF","20/27","ALDES",{"v":1,"d":"1.00 €"},"Unité",3,6]
["SL104","SANITAIRE","LAITON","Clapet anti-retour - toutes positions FF","15/21","ALDES",{"v":1,"d":"1.00 €"},"Unité",3,6]
["SL105","SANITAIRE","LAITON","Clapet anti-retour - toutes positions FF","20/27","ALDES",{"v":1,"d":"1.00 €"},"Unité",3,6]
["SL106","SANITAIRE","LAITON","Clapet anti-retour - toutes positions FF","26/34","ALDES",{"v":1,"d":"1.00 €"},"Unité",3,6]
["SL107","SANITAIRE","LAITON","Clapet anti-retour - toutes positions FF","33/42","ALDES",{"v":1,"d":"1.00 €"},"Unité",3,6]
["SL108","SANITAIRE","LAITON","Filtre tamis FF","15/21","ALDES",{"v":1,"d":"1.00 €"},"Unité",3,6]
["SL109","SANITAIRE","LAITON","Filtre tamis FF","20/27","ALDES",{"v":1,"d":"1.00 €"},"Unité",3,6]
["SL110","SANITAIRE","LAITON","Filtre tamis FF","26/34","ALDES",{"v":1,"d":"1.00 €"},"Unité",3,6]
["SL111","SANITAIRE","LAITON","Filtre tamis FF","33/42","ALDES",{"v":1,"d":"1.00 €"},"Unité",3,6]
["V001","VMC","TUBES VMC","Tube VMC longueur 3m","Ø 125","ALDES",{"v":1,"d":"1.00 €"},"Unité",5,10]
["V002","VMC","TUBES VMC","Tube VMC longueur 3m","Ø 160","ALDES",{"v":1,"d":"1.00 €"},"Unité",5,10]
["V003","VMC","RACCORDS VMC","Coude 45°","Ø 125","ALDES",{"v":1,"d":"1.00 €"},"Unité",3,6]
["V004","VMC","RACCORDS VMC","Coude 45°","Ø 160","ALDES",{"v":1,"d":"1.00 €"},"Unité",3,6]
["V005","VMC","RACCORDS VMC","Tés","Ø 125","ALDES",{"v":1,"d":"1.00 €"},"Unité",3,6]
["V006","VMC","RACCORDS VMC","Tés","Ø 160","ALDES",{"v":1,"d":"1.00 €"},"Unité",2,4]
["V007","VMC","RACCORDS VMC","Manchon MM","Ø 125","ALDES",{"v":1,"d":"1.00 €"},"Unité",5,10]
["V008","VMC","RACCORDS VMC","Manchon MM","Ø 160","ALDES",{"v":1,"d":"1.00 €"},"Unité",3,6]
["V009","VMC","RACCORDS VMC","Manchette à oreilles","Ø 125","ALDES",{"v":1,"d":"1.00 €"},"Unité",5,10]
["V010","VMC","RACCORDS VMC","Réduction","Ø 125/160","ALDES",{"v":1,"d":"1.00 €"},"Unité",2,4]
["V011","VMC","RACCORDS VMC","Collier","Ø 125","ALDES",{"v":1,"d":"1.00 €"},"Unité",20,40]
["V012","VMC","RACCORDS VMC","Collier","Ø 160","ALDES",{"v":1,"d":"1.00 €"},"Unité",10,20]
["V013","VMC","ACCESSOIRES VMC","Vis AUTO PERF 4,2 X 12,7","4,2 X 12,7","ALDES",{"v":1,"d":"1.00 €"},"BOITE 500",5,10]
["V014","VMC","ACCESSOIRES VMC","SCOTCH Alubutyl","50mm - rouleau de 15m","ALDES",{"v":1,"d":"1.00 €"},"ROULEAU",2,5]

{"sheet":"Edition étiquettes","index":1,"n_rows":35,"n_cols":14,"rows_kept":35,"merged":[[0,0,4,0],[0,1,0,6],[0,8,4,8],[0,9,0,14],[1,3,1,6],[1,11,1,14],[2,3,2,6],[2,11,2,14],[4,3,4,6],[4,11,4,14],[6,0,10,0],[6,1,6,6],[6,8,10,8],[6,9,6,14],[7,3,7,6],[7,11,7,14],[8,3,8,6],[8,11,8,14],[10,3,10,6],[10,11,10,14],[12,0,16,0],[12,1,12,6],[12,8,16,8],[12,9,12,14],[13,3,13,6],[13,11,13,14],[14,3,14,6],[14,11,14,14],[16,3,16,6],[16,11,16,14],[18,0,22,0],[18,1,18,6],[18,8,22,8],[18,9,18,14],[19,3,19,6],[19,11,19,14],[20,3,20,6],[20,11,20,14],[22,3,22,6],[22,11,22,14],[24,0,28,0],[24,1,24,6],[24,8,28,8],[24,9,24,14],[25,3,25,6],[25,11,25,14],[26,3,26,6],[26,11,26,14],[28,3,28,6],[28,11,28,14],[30,0,34,0],[30,1,30,6],[30,8,34,8],[30,9,30,14],[31,3,31,6],[31,11,31,14],[32,3,32,6],[32,11,32,14],[34,3,34,6],[34,11,34,14]]}
[null,{"$f":"INDEX(BASE,MATCH(D5,REF,0),MATCH(\"PRODUITS\",Nomination,0)-2)","v":"ACCESSOIRES"}]
[null,"Dim.",":",{"$f":"INDEX(BASE,MATCH(D5,REF,0),MATCH(\"PRODUITS\",Nomination,0)-1)","v":"Robinet de machine à laver"},{"$nulls":5},"Dim.",":"]
[{"$nulls":3},{"$f":"INDEX(BASE,MATCH(D5,REF,0),MATCH(\"PRODUITS\",Nomination,0)-3)","v":"SANITAIRE"}]
[null,null,":","MIN = ",{"$f":"INDEX(BASE,MATCH(D5,REF,0),MATCH(\"PRODUITS\",Nomination,0)+4)","v":10},"MAX =",{"$f":"INDEX(BASE,MATCH(D5,REF,0),MATCH(\"PRODUITS\",Nomination,0)+5)","v":20},{"$nulls":3},":","MIN = ",null,"MAX ="]
[null,"REF",":","S031",{"$nulls":5},"REF",":"]
[]
[]
[null,"Dim.",":",{"$nulls":6},"Dim.",":"]
[]
[null,null,":","MIN = ",null,"MAX =",{"$nulls":4},":","MIN = ",null,"MAX ="]
[null,"REF",":",{"$nulls":6},"REF",":"]
[]
[]
[null,"Dim.",":",{"$nulls":6},"Dim.",":"]
[]
[null,null,":","MIN = ",null,"MAX =",{"$nulls":4},":","MIN = ",null,"MAX ="]
[null,"REF",":",{"$nulls":6},"REF",":"]
[]
[]
[null,"Dim.",":",{"$nulls":6},"Dim.",":"]
[]
[null,null,":","MIN = ",null,"MAX =",{"$nulls":4},":","MIN = ",null,"MAX ="]
[null,"REF",":",{"$nulls":6},"REF",":"]
[]
[]
[null,"Dim.",":",{"$nulls":6},"Dim.",":"]
[]
[null,null,":","MIN = ",null,"MAX =",{"$nulls":4},":","MIN = ",null,"MAX ="]
[null,"REF",":",{"$nulls":6},"REF",":"]
[]
[]
[null,"Dim.",":",{"$nulls":6},"Dim.",":"]
[]
[null,null,":","MIN = ",null,"MAX =",{"$nulls":4},":","MIN = ",null,"MAX ="]
[null,"REF",":",{"$nulls":6},"REF",":"]